## Civil & Building
EASTERN GATEWAY PRECINCT - OVAL PARK
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 1
BILL NO. 1
PRELIMINARY AND GENERAL(Applicable to the whole of the Works)
FIXED CHARGE ITEMS
1 | Contractual requirements. | SUM | 1 |  | 0
Establishment of Facilities on the Site
Facilities for Engineer
2 | Furnished offices. (In No.1) | SUM | 1 |  | 0
3 | Telephone. | SUM | 1 |  | 0
4 | Nameboards. (In No. 2). | SUM | 1 |  | 0
Facilities for Contractor
5 | Offices and storage sheds. | SUM | 1 |  | 0
6 | Workshops. | SUM | 1 |  | 0
7 | Laboratories. | SUM | 1 |  | 0
8 | Living accommodation. | SUM | 1 |  | 0
9 | Ablution and latrine facilities. | SUM | 1 |  | 0
10 | Tools and equipment. | SUM | 1 |  | 0
11 | Water supplies, electric power, communications, dealing with water, and access. | SUM | 1 |  | 0
12 | Plant. | SUM | 1 |  | 0
13 | Other fixed charge obligations. | SUM | 1 |  | 0
14 | Company and head office overhead costs for the management of SMME's in accordance with the contract conditions, including the provision of a dedicated individual to fulfill this function (minimum of 5 SMME's will be utilised). | SUM | 1 |  | 0
15 | Removal of site establishment. | SUM | 1 |  | 0
VALUE RELATED ITEMS
16 | Contractual requirements. | SUM | 1 |  | 0
Establishment of Facilities on the Site
Facilities for Engineer
17 | Furnished offices. (In No. 1) | SUM | 1 |  | 0
18 | Telephone. | SUM | 1 |  | 0
19 | Nameboards. (In No. 2). | SUM | 1 |  | 0
Facilities for Contractor
20 | Offices and storage sheds. | SUM | 1 |  | 0
21 | Workshops. | SUM | 1 |  | 0
22 | Laboratories. | SUM | 1 |  | 0
23 | Living accommodation. | SUM | 1 |  | 0
24 | Ablution and latrine facilities. | SUM | 1 |  | 0
25 | Tools and equipment. | SUM | 1 |  | 0
26 | Water supplies, electric power, communications, dealing with water, and access. | SUM | 1 |  | 0
27 | Plant. | SUM | 1 |  | 0
28 | Other value related obligations. | SUM | 1 |  | 0
29 | Company and head office overhead costs for the management of SMME's in accordance with the contract conditions, including the provision of a dedicated individual to fulfill this function (minimum of 5 SMME's will be utilised). | SUM | 1 |  | 0
30 | Removal of site establishment. | SUM | 1 |  | 0
TIME RELATED ITEMS
31 | Contractual requirements. | SUM | 1 |  | 0
Operation and Maintenance of Facilities on Site, for Duration of Construction, (unless otherwise stated)
Facilities for Engineer
32 | Furnished offices. (In No. 1) | SUM | 1 |  | 0
33 | Telephone. | SUM | 1 |  | 0
34 | Nameboards. (In No. 2). | SUM | 1 |  | 0
35 | Survey assistants and materials. | SUM | 1 |  | 0
Facilities for Contractor
36 | Offices and storage sheds. | SUM | 1 |  | 0
37 | Workshops. | SUM | 1 |  | 0
38 | Laboratories. | SUM | 1 |  | 0
39 | Living accommodation. | SUM | 1 |  | 0
40 | Ablution and latrine facilities. | SUM | 1 |  | 0
41 | Tools and equipment. | SUM | 1 |  | 0
42 | Water supplies, electric power, communications, dealing with water, and access. | SUM | 1 |  | 0
43 | Plant. | SUM | 1 |  | 0
44 | Supervision for duration of construction. | SUM | 1 |  | 0
45 | Company and head office overhead costs for duration of construction. | SUM | 1 |  | 0
46 | Other time related obligations. | SUM | 1 |  | 0
47 | Company and head office overhead costs for the management of SMME's in accordance with the contract conditions, including the provision of a dedicated individual to fulfill this function (minimum of 5 SMME's will be utilised). | SUM | 1 |  | 0
PROVISIONAL SUMS FOR:
48 | Training. | Item | 1 | 150000 | 150000
49 | Overheads, charges and profit on (a) above. | SUM | 1 |  | 0
50 | Specified activities associated with or independent of (a) or (b) above. | SUM | 1 |  | 0
51 | Enterprise Development. | Item | 1 | 150000 | 150000
52 | Overheads, charges and profit on (a) above. | SUM | 1 |  | 0
53 | Specified activities associated with or independent of (a) or (b) above. | SUM | 1 |  | 0
54 | Community Liaison Officer. | Item | 1 | 72000 | 72000
55 | Overheads, charges and profit on (a) above. | SUM | 1 |  | 0
56 | Specified activities associated with or independent of (a) or (b) above. | SUM | 1 |  | 0
57 | SMME Mentor | Item | 1 | 300000 | 300000
58 | Overheads, charges and profit on (a) above. | SUM | 1 |  | 0
59 | Specified activities associated with or independent of (a) or (b) above. | SUM | 1 |  | 0
60 | Signage & Fire Signage. | Item | 1 | 20000 | 20000
61 | Overheads, charges and profit on (a) above. | SUM | 1 |  | 0
62 | Specified activities associated with or independent of (a) or (b) above. | SUM | 1 |  | 0
63 | 5-a-Side Soccerfields | Item | 1 | 1000000 | 1000000
64 | Overheads, charges and profit on (a) above. | SUM | 1 |  | 0
65 | Specified activities associated with or independent of (a) or (b) above. | SUM | 1 |  | 0
66 | Repair Work to Existing Fencing | Item | 1 | 50000 | 50000
67 | Overheads, charges and profit on (a) above. | SUM | 1 |  | 0
68 | Specified activities associated with or independent of (a) or (b) above. | SUM | 1 |  | 0
TEMPORARY WORKS
69 | Dealing with or accommodation of traffic. | SUM | 1 |  | 0
70 | The contractor is to provide all temporary works which he deems necessary to complete the project and he must protect all existing structures in the vicinity of the works. | SUM | 1 |  | 0
71 | Supply or hire of specialist equipment for the detection of all services. | SUM | 1 |  | 0
72 | Use of the equipment referred to in item (a) above. | SUM | 1 |  | 0
73 | Temporary protection of services. | SUM | 1 |  | 0
74 | Cost of survey in terms of the land surveying act. | SUM | 1 |  | 0
75 | Compliance with the Construction Regulations issued in terms of the Occupational Health and Safety Act, 1993 as amended as well as all current legislation related to compliance with Covid-19 health and safety requirements. The contractor shall price opposite this item for compliance with the act and the regulations, specifically including legislated Covid-19 compliance measures and the reasonable provisions of the aforementioned health and safety specification. The contractor shall: 1. Comply with the health and safety specification including legislated Covid-19 compliance measures for the works 2. Prepare and agree with the health and safety consultant the health and safety plan for the works 3. Cooperate with the health and safety consultant in all respects 4. Manage the compliance of all subcontractors with the regulations including legislated Covid-19 compliance measures and with the health and safety plan and specification 5. Conform to the conditions contained in the employer's health and safety specification | SUM | 1 |  | 0
76 | Workmanâs Compensation Act. | SUM | 1 |  | 0
SMME PRELIMINARY AND GENERAL (Applicable to the whole of the Works)THE FOLLOWING ITEMS ARE TO CATER FOR A MINIMUM OF 5 SMME's.
FIXED CHARGE ITEMS
Establishment of Facilities on the Site for SMME's (Minimum 5No. SMME's)
Facilities for SMME's (Minimum 5No. SMME's)
77 | Offices and storage sheds. | SUM | 1 |  | 0
78 | Tools and equipment. | SUM | 1 |  | 0
79 | Water supplies, electric power, communications, dealing with water, and access. | SUM | 1 |  | 0
80 | Plant. | SUM | 1 |  | 0
81 | Other fixed charge obligations. | SUM | 1 |  | 0
82 | Removal of site establishment. | SUM | 1 |  | 0
VALUE RELATED ITEMS
Establishment of Facilities on the Site for SMME's (Minimum 5No. SMME's)
Facilities for SMME's (Minimum 5No. SMME's)
83 | Offices and storage sheds. | SUM | 1 |  | 0
84 | Tools and equipment. | SUM | 1 |  | 0
85 | Water supplies, electric power, communications, dealing with water, and access. | SUM | 1 |  | 0
86 | Plant. | SUM | 1 |  | 0
87 | Other value related obligations. | SUM | 1 |  | 0
88 | Removal of site establishment. | SUM | 1 |  | 0
TIME RELATED ITEMS
Facilities for SMME's (Minimum 5No. SMME's)
89 | Offices and storage sheds. | SUM | 1 |  | 0
90 | Tools and equipment. | SUM | 1 |  | 0
91 | Water supplies, electric power, communications, dealing with water, and access. | SUM | 1 |  | 0
92 | Plant. | SUM | 1 |  | 0
93 | Supervision by SMME for duration of construction. | SUM | 1 |  | 0
94 | Company and head office overhead costs for duration of construction. | SUM | 1 |  | 0
95 | Other time related obligations. | SUM | 1 |  | 0
SECTION NO. 2
BILL NO. 1
DEMOLITIONS
SUPPLEMENTARY PREAMBLES
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include for bulking and loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
DEMOLITIONS, ETC.
1 | Break down and remove existing reinforced concrete steps including carting away all material to a dumping site to be located by the Contractor. | m³ | 20 |  | 0
2 | Take up and remove existing 60mm thick concrete and clay pavers and cartaway to a dumping site located by the contractor. | m² | 80 |  | 0
3 | Break down and remove existing brick boundary wall 1800mm high including removing strip footings, backfilling and cart away all material to a dumping site to be located by the contractor. | m | 30 |  | 0
4 | Take off and remove existing steel palisade fence, posts and bases, 1800mm high including carting away all material to a dumping site to be located by the contractor. | m | 40 |  | 0
5 | Take out and remove tree with trunk not exceeding 1000mm including excavating and removing of roots, filling hole with clean dry earthfilling and compacting to road/sidewalk specification. | No | 3 |  | 0
6 | Take out and remove tree with trunk exceeding 1000mm but not exceeding 1500mm girth including excavating and removing of roots, filling hole with clean dry earthfilling and compacting to road/sidewalk specification. | No | 2 |  | 0
SECTION NO. 2
BILL NO. 2
GENERAL SITEWORKS
SUPPLEMENTARY PREAMBLES
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include for bulking and loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
SITE CLEARANCE, ETC.
Site clearance:
1 | Allow for digging up and removing all rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth measured 1m above ground level, etc. including carting away all material to a dumping site to be located by the contractor. | m² | 4335 |  | 0
2 | Strip average 200mm thick layer of topsoil and cartaway to stockpiles on site. | m² | 4335 |  | 0
ROADS AND PAVEMENTS
Excavations:
3 | Excavation by hand in all material to expose services. | m³ | 50 |  | 0
4 | Open face excavation in earth and soft rock over site to reduce levels including formation of platform compacted to 93% modified AASHTO density in 150mm thick layers with surplus material from the cut operation (cut to fill). | m³ | 1182 |  | 0
5 | Open face excavation in earth and soft rock over site to reduce levels and cart away to stockpiles on site. | m³ | 744 |  | 0
6 | Extra over all excavations for carting away surplus material from excavations and/or stockpiles on site to a dumping site to be located by the Contractor. | m³ | 744 |  | 0
7 | Extra over open face excavations in earth for excavations in intermediate rock including carting away to a dumping site to be located by the Contractor. | m³ | 74 |  | 0
8 | Extra over open face excavations in earth for excavations in hard rock including carting away to a dumping site to be located by the Contractor. | m³ | 37 |  | 0
9 | Allow for keeping excavations free of all water other than subterranean water. | Item | 1 |  | 0
Compaction of in-situ surfaces:
10 | Rip and recompact ground surface, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% modified AASHTO density within 2% of OMC, and trim to required levels. | m² | 3941 |  | 0
Sub-base Course:
11 | Selected imported G7 (commercial sources) natural gravel in 150mm layers and spread, level, water and compact to 95% modified AASHTO density within 2% of OMC and sloped to 1% falls with a tolerance of 6mm to 8mm on a 3m straight edge. | m³ | 392 |  | 0
12 | Selected imported crusher dust swept into joints between G7 natural gravel (G7 elsewhere). | m² | 1305 |  | 0
Base Course:
13 | Selected imported G7 (commercial sources) natural gravel in 150mm layers and spread, level, water and compact to 95% modified AASHTO density within 2% of OMC. | m³ | 469 |  | 0
14 | Selected imported G6 (commercial sources) (C2 after stabilisation) natural gravel in 150mm layers and spread, level, water and compact to 97% modified AASHTO density within 2% of OMC. | m³ | 50 |  | 0
15 | Selected earth filling obtained from the excavations and/or prescribed stock piles on site in layers of 150mm thick compacted to 95% Mod AASHTO density | m³ | 30 |  | 0
Stabilisation:
16 | Process base/sub-base course by stabilisation (cement elsewhere). | m³ | 50 |  | 0
17 | Stabilising with ordinary portland cement at the rate of 3% by mass. | t | 3 |  | 0
Soil Tests:
Note : Prices for soil tests must be included in the contractor's rates for earthworks items. Additional soil tests to be carried out as directed by the Engineer:
18 | Modified AASHTO density tests. | Item | 1 | 10000 | 10000
SECTION NO. 2
BILL NO. 3
PAVING, KERBS, ETC.
SUPPLEMENTARY PREAMBLES
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include for bulking and loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
PAVING
Approved brand of anti-termite soil poison & weedkiller is to be applied under paving by a Registered Company and guaranteed for ten years (deemed to be included in the rates below).
Paving shall be laid in accordance with SABS 1200MJ, SABS 1058 and the Concrete Masonry Association's specifications.
Paving shall be laid on 30mm (thickness after final compaction) clean river sand (preparation of ground or filling elsewhere) (deemed to be included in the rates below).
Clean plaster sand shall be swept into joints between roadstones.
The contractor to provide all necessary machinery, labour, transport and materials for the supply and installation of mow edge materialTest sample: The contractor needs to install 2m on a concrete footing for approval. All aspects as specified need to be included into the test panel sample.All areas to be enclosed with the hard edge should be shaped to the desired slope and final soil levels for approval by the Landscape Architect, prior to the setting out of the edges for approval.All edges to be set out by the contractor for approval by the Landscape Architect prior to the soil preparations for the footings.Landscape architect to indicate all desired final mow edge levels, prior to installation.Soil preparation:Excavate to allow for a 220mm wide (with 220 x 108,5 x 50mm concrete edge units) excavation to install the mow edges. Excavations to be the same depth of the individual mow edge units.Base of the excavation should be compacted to 95% MOD AASHTO.Where the surrounding area (enclosed area) sub-base needs to be compacted the excavation for the footing should only commence on completion of the compaction of the larger area.No cracked, chipped, pavers with unwanted markings will be accepted. All areas showing subsidence on the final product will mean that the larger area will be redone, re-compacted and repaired to meet the specifications.All levels need to accommodate a minimum fall to allow for sufficient water run offInstall all the pavers to finishing levels 35mm above the surrounding planting soil levels but level connecting to pathway heights or pathway kerbing.Install whole pavers on all endsInstall 10mm recessed, smooth mortar joints.
One layer of 250 micron type C waterproof sheeting sealed at laps with pressure sensitive tape:
1 | Under paving. | m² | 2345 |  | 0
200 x 100 x 50mm thick "Bosun Bevel Bond", or equal approved, autumn blend colour laid in a basket weave pattern bedded on and including 30mm thick bed of river sand with 1:6 cement grout swept & watered into joints between roadstones:
2 | Paving to roads, parking areas, pavements, bands, etc. to falls including any consequent cutting & sawcutting (circular cutting elsewhere). | m² | 1548 |  | 0
3 | Extra for circular cutting not exceeding 2m radius. | m | 35 |  | 0
200 x 100 x 50mm thick "Bosun Bevel Bond", or equal approved, granite colour laid in a header course pattern bedded on and including 30mm thick bed of river sand with 1:6 cement grout swept & watered into joints between roadstones:
4 | Soldier course margins 200mm wide. | m | 816 |  | 0
5 | Soldier course margins 200mm wide, circular on plan. | m | 373 |  | 0
Gravel Surfaces:
6 | 15 - 19mm Gravel (50mm thick) including spreading level. | m² | 134 |  | 0
7 | Supply, deliver and install geotextile bidum layer underneath gravel (gravel elsewhere) including 200mm overlap all round. | m² | 134 |  | 0
300 x 400 x 60mm thick custon made "WilsonStone Jogging Route Marker", or equal approved, grey colour precast concrete blocks bedded on and including 30mm thick bed of river sand with 1:6 cement grout swept & watered into joints between roadstones:
8 | Blocks laid along jogging route to falls including any consequent cutting & sawcutting (circular cutting elsewhere). | No | 5 |  | 0
400 x 400 x 60mm thick "Smartstone Warning Tactile Paver", or equal approved, grey colour precast concrete blocks bedded on and including 30mm thick bed of river sand with 1:6 cement grout swept & watered into joints between roadstones:
9 | Paving to roads, parking areas, pavements, bands, etc. to falls including any consequent cutting & sawcutting (circular cutting elsewhere). | m² | 2 |  | 0
400 x 400 x 60mm thick "Smartstone Directional Tactile Paver", or equal approved, grey colour precast concrete blocks bedded on and including 30mm thick bed of river sand with 1:6 cement grout swept & watered into joints between roadstones:
10 | Soldier course margins 400mm wide. | m | 5 |  | 0
KERBS
150 x 300mm Half-battered concrete kerb (SABS 927 Fig. 3) jointed and pointed in 5:1 cement mortar and bedded in 15mpa concrete including all necessary excavation, backfilling, carting away, continuous concrete haunching on curves, concrete haunching at joints on straights, 10mm thick fibre board expansion joint, 10 x 10mm polyurethane sealant over joint, etc.:
11 | Laid straight. | m | 150 |  | 0
12 | Laid circular on plan not exceeding 4m radius. | m | 5 |  | 0
75 x 150mm Rectangular concrete garden kerb (SABS 927 Fig. 12) jointed and pointed in 5:1 cement mortar and bedded in 15mpa concrete including all necessary excavation, backfilling, carting away, concrete haunching, etc.:
13 | Laid straight. | m | 55 |  | 0
14 | Laid circular on plan not exceeding 4m radius. | m | 18 |  | 0
Sundries
15 | 25Mpa/19mm Concrete edging along existing buildings size 150 x 150mm deep finished smooth on all exposed surfaces to a uniform dense finish with one top corner having a 10 x 10mm chamfer with closed cell expanded polyethylene filler and polyurethane sealant expansion joints at 6m centres, saw cut construction joints and sealant at 2m centres and 10mm softboard expansion joint along full length including all necessary formwork, excavation, backfilling, cutting into paving, etc. | m | 12 |  | 0
16 | 20Mpa/19mm Concrete edging below soldier course pavers (pavers elsewhere), size 200mm wide x 100mm deep finished smooth on all exposed surfaces to a uniform dense finish with closed cell expanded polyethylene filler and polyurethane sealant expansion joints at 6m centres, saw cut construction joints and sealant at 2m centres and 10mm softboard expansion joint along full length including all necessary formwork, excavation, backfilling, cutting into paving, etc. | m | 816 |  | 0
17 | 20Mpa/19mm Concrete edging circular on plan, below soldier course pavers (pavers elsewhere), size 200mm wide x 100mm deep finished smooth on all exposed surfaces to a uniform dense finish with closed cell expanded polyethylene filler and polyurethane sealant expansion joints at 6m centres, saw cut construction joints and sealant at 2m centres and 10mm softboard expansion joint along full length including all necessary formwork, excavation, backfilling, cutting into paving, etc. | m | 373 |  | 0
18 | 30Mpa/19mm Concrete in surrounds to existing posts, manholes, etc. size overall 300 x 300 x 80mm thick including all necessary formwork, movement joints, cutting into paving, finishing top surfaces to a smooth finish, steel ruled joints all round top, casting around existing posts, manholes, etc. | No | 10 |  | 0
19 | 30Mpa/19mm Concrete in surrounds to existing posts, manholes, etc. size overall 450 x 450 x 80mm thick including all necessary formwork, movement joints, cutting into paving, finishing top surfaces to a smooth finish, steel ruled joints all round top, casting around existing posts, manholes, etc. | No | 7 |  | 0
20 | 30Mpa/19mm Concrete in surrounds to existing posts, manholes, etc. size overall 1000 x 1000 x 80mm thick including all necessary formwork, movement joints, cutting into paving, finishing top surfaces to a smooth finish, steel ruled joints all round top, casting around existing posts, manholes, etc. | No | 2 |  | 0
ROAD MARKINGS
Prepare and paint one coat approved white, red or yellow 1.25mm thick thermoplastic, reflective road marking paint with Class 1 reflective beads within the paint on asphalt surface as per "The Southern African Development Community - Road Traffic Signs Manual (SARTSM), June 1999 Edition, Volumes 1 to 4" all in accordance with SABS 1091-1975:
21 | 100mm Wide broken or continuous lines. Code: RM1/WM3. | m | 80 |  | 0
ROAD SIGNS
Class 1 retro-reflective road sign complying with the requirements of "The Southern African Development Community - Road Traffic Signs Manual (SARTSM), June 1999 Edition, Volumes 1 to 4" all in accordance with SABS 1519, including galvanised steel support post 76mm diameter x 3mm thick x 2500mm long above finished ground level and minimum 600mm from road edge (to edge of sign) including all necessary excavation, backfilling, etc. including setting post in 25Mpa concrete base size 600mm diameter x 900mm minimum thickness:
22 | 600mm Diameter 'STOP' sign. Code: R1. | No | 1 |  | 0
23 | 600mm Diameter 'NO PARKING' sign. Code: R216. | No | 1 |  | 0
FINANCIAL PROVISION
24 | Allow the amount of R50,000.00 (Fifty Thousand Rand Only) for attic stock. | Item | 1 | 50000 | 50000
SECTION NO. 2
BILL NO. 4
STORMWATER, SEWER, WATER RETICULATION
SUPPLEMENTARY PREAMBLES
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include for bulking and loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
Location of existing services:
Location & protection of all municipal or other services identified or unknown, for the duration of the contract, are to be included in the contractors tendered rates.
STORMWATER RETICULATION
Precast concrete pipes laid in ground:
1 | 375mm Diameter precast reinforced concrete pipe to SABS 677 Type SC Class 100D with ogee joints including laying in ground to falls on and including Class C bedding (SABS 1200 LB) and selected fill blanket, including excavation 950mm wide and exceeding 1000mm and not exceeding 2000mm deep and backfilling to 93% modified AASHTO density in 150mm layers, including carting away surplus excavated material, risk of collapse, dewatering of trenches, etc. (SANS1200 DB 8.3.2(a) / LB 8.2.2.3 / LE 8.2.1). | m | 60 |  | 0
2 | Ditto, but exceeding 2000mm and not exceeding 3000mm deep. | m | 40 |  | 0
3 | 450mm Diameter precast reinforced concrete pipe to SABS 677 Type SC Class 100D with ogee joints including laying in ground to falls on and including Class C bedding (SABS 1200 LB) and selected fill blanket, including excavation 950mm wide and exceeding 1000mm and not exceeding 2000mm deep and backfilling to 93% modified AASHTO density in 150mm layers, including carting away surplus excavated material, risk of collapse, dewatering of trenches, etc. (SANS1200 DB 8.3.2(a) / LB 8.2.2.3 / LE 8.2.1). | m | 80 |  | 0
4 | Ditto, but exceeding 2000mm and not exceeding 3000mm deep. | m | 20 |  | 0
5 | Extra over trench excavations for intermediate excavation. | m³ | 25 |  | 0
6 | Extra over trench excavations for hard excavation. | m³ | 12 |  | 0
Stormwater Channels (As per attached Engineers Drawing CP053-OVP-TPS-001):
7 | Excavation in compacted filling not exceeding 500mm deep to form trench for stormwater channel, including carting away material to a dump site to be located by the contractor. | m³ | 50 |  | 0
8 | Rip and recompact ground surface to bottom of trenches, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% modified AASHTO density within 2% of OMC, and trim to required levels. | m² | 143 |  | 0
9 | Selected imported G5 (commercial sources) natural gravel and spread, level, water and compact to a density of at least 95% modified AASHTO density within 2% of OMC in 150mm thick layers to shaped bottom of trenches. | m³ | 36 |  | 0
10 | 25mpa V-shaped channel 824mm wide x 155mm thick with ref. 193 mesh reinforcement (continuous over joints) and finished on exposed surfaces with a steel float, laid to falls in panels not exceeding 1,5m long, with 12mm thick bitumen impregnated softboard movement joints with exposed edges raked out for a depth of 10mm and filled with bituminous compound and including one layer 250 micron type C waterproof sheeting mechanically jointed including all necessary excavations, formwork, etc. | m | 110 |  | 0
Grid inlets, kerb inlets, etc.:
11 | Excavate in compacted earth for and build grid inlet catchpit size 1040 x 1040mm externally with plastered one brick wall sides in engineering bricks built in english bond on and including 25Mpa insitu concrete base 200mm thick with ref 245 mesh reinforcing, rendered smooth internally in 1:5 cement mortar, benching up bottom in 25Mpa concrete finished off smooth with a steel trowel and 1040 x 1040 x 150mm thick insitu concrete cover slab to SABS 1504, rebated and holed for and including 600 x 600mm square dished shaped purpose made heavy duty polymer grid inlet cover laid loose in 50 x 50 x 6mm angle section framing including all formwork, reinforcing, backfilling in 150mm layers compacted to 90% Mod AASHTO density, compaction, filling, etc. Depth to invert exceeding 1000mm and not exceeding 2000mm deep (As per attached Engineers Drawing CP053-OVP-TPS-001). | No | 5 |  | 0
12 | Excavate in compacted earth for and build manhole size 1340 x 1640mm externally with plastered one brick wall sides in engineering bricks built in english bond on and including 25Mpa insitu concrete base 200mm thick with ref 888 mesh reinforcing, rendered smooth internally in 1:5 cement mortar, benching up bottom in 25Mpa concrete finished off smooth with a steel trowel and 1340 x 1640 x 200mm thick insitu concrete cover slab to SABS 1504, rebated and holed for and including circular medium duty concrete manhole cover and frame including all formwork, reinforcing, backfilling in 150mm layers compacted to 90% Mod AASHTO density, compaction, filling, step irons, etc. Depth to invert exceeding 1000mm and not exceeding 2000mm deep (As per attached Engineers Drawing CP053-OVP-TPS-001). | No | 5 |  | 0
13 | Excavate for and build kerb inlet catchpit size overall 4000 x 1210mm, comprising of an upper chamber and a lower chamber, with one brick wall sides in engineering bricks built in english bond on and including 20Mpa insitu concrete base 150mm thick with ref 245 mesh reinforcing, rendered smooth internally in 1:5 cement mortar, benching up bottom in 20Mpa concrete finished off smooth and 2No. x 100mm thick 25Mpa concrete cover slabs with ref 245 mesh reinforcing, each slab size 2000 x 1000mm including leaving or forming opening size 450mm diameter in wall for inlet and 450mm diameter hole for outlet pipe including all formwork, reinforcing, backfilling, compacting, transition kerbs, intermediate supports, end supports, etc. Depth to invert exceeding 1000mm and not exceeding 2000mm (As per attached Engineers Drawing CP053-OVP-TPS-001). | No | 1 |  | 0
14 | Allow for cleaning existing kerb inlets, manholes. etc. (various sizes) of all rubbish, debris, etc., including cleaning of the inlet & outlet pipes for 20 metres in both directions, including removal of existing lids, relaying existing lids as per Engineer's instructions, making good & carting away all rubbish, debris, etc. to a dumping site to be located by the contractor. | No | 2 |  | 0
Altering Depths of Manholes
15 | Carefully remove existing reinforced concrete cover slab with and including manhole cover and frame from existing 1500 x 1500mm brick electrical or telephone manhole, increase depth by bricking up and plaster not exceeding 500mm high and refix cover slab and manhole cover and frame, including making good. | No | 4 |  | 0
16 | Carefully remove existing reinforced concrete cover slab with and including manhole cover and frame from existing 1500 x 1500mm brick electrical or telephone manhole, lower depth by breaking and carting away brick wall not exceeding 500mm high and refix cover slab and manhole cover and frame, including making good. | No | 2 |  | 0
Connections:
17 | Cut into existing stormwater manhole for and connect new 450mm diameter precast concrete pipe, including temporary sealing off, diverting, backfilling, making good on completion. | No | 1 |  | 0
WATER SUPPLY
HDPE (PE160 PN12,5 SDR13.6) water pipes with butt welded joints:
18 | 32mm Diameter pipe laid in ground to falls on and including Class C bedding (SABS 1200LB) and selected fill blanket, including excavation 760mm wide and not exceeding 1000mm deep and backfilling to 90% modified AASHTO density in 150mm layers, including carting away surplus excavated material, risk of collapse, dewatering of trenches, etc. | m | 100 |  | 0
19 | 75mm Diameter pipe laid in ground to falls on and including Class C bedding (SABS 1200LB) and selected fill blanket, including excavation 760mm wide and not exceeding 1000mm deep and backfilling to 90% modified AASHTO density in 150mm layers, including carting away surplus excavated material, risk of collapse, dewatering of trenches, etc. | m | 150 |  | 0
Extra on 32mm diameter HDPE pipe for:
20 | End cap. | No | 2 |  | 0
21 | Junction. | No | 4 |  | 0
22 | Bend. | No | 10 |  | 0
23 | Tee. | No | 5 |  | 0
24 | Isolation valve. | No | 3 |  | 0
Extra on 75mm diameter HDPE pipe for:
25 | End cap. | No | 3 |  | 0
26 | Junction. | No | 6 |  | 0
27 | Bend. | No | 12 |  | 0
28 | Tee. | No | 7 |  | 0
29 | Isolation valve. | No | 5 |  | 0
Concrete anchor blocks and pipe surrounds:
30 | 20Mpa Concrete in anchor or thrust blocks including additional excavation and all necessary formwork. | m³ | 1 |  | 0
Valves and hydrants:
31 | 100mm "Storz" or equal approved hydrant with instantaneous connection and double tamperproof valve including 100mm diameter stand pipe 1m high and 90 degree bend, bedded in and including 25Mpa concrete block size 300 x 300 x 150mm thick including all necessary excavations, formwork, backfilling, painting, denso tape, etc. (as per attached Engineer's drawing CP053-OVP-TPS-001). | No | 2 |  | 0
32 | 160mm Diameter flanged resilient wedge type gate valve including flange adaptor for uPVC pipes, non rising spindle and anti-clockwise closing, excavations, backfilling, etc. | No | 2 |  | 0
Valve chambers:
33 | Valve chamber size 1000 x 1000 x 1200mm deep internally with 100mm concrete base (20Mpa) including 220mm plastered brick walls in engineering bricks and Type 5 cast iron frame and lid to SABS 558-65 set in "Salberg", or equal approved, valve box including all necessary excavation, backfilling, formwork, etc. | No | 2 |  | 0
SOIL DRAINAGE
uPVC heavy duty pressure piping to SABS 791 with high impact couplings (Diameters given are outside diameters):
34 | 160mm Diameter Class 34 pipe laid in ground to falls on and including Class C bedding (SABS 1200LB) and selected fill blanket, including excavation in compacted earth 750mm wide and not exceeding 1000mm deep and backfilling to 90% modified AASHTO density in 150mm layers, including carting away surplus excavated material, risk of collapse, dewatering of trenches, shoring, etc. | m | 90 |  | 0
35 | Ditto, but exceeding 1000mm and not exceeding 2000mm deep. | m | 60 |  | 0
Extra on 160mm diameter uPVC pipes for fittings:
36 | Junction. | No | 7 |  | 0
37 | 45Âº Plan reducing junction. | No | 5 |  | 0
38 | Tee. | No | 3 |  | 0
39 | End cap. | No | 2 |  | 0
Sundries:
40 | 20Mpa Concrete in marker block size overall 200 x 100 x 1300mm high with 800mm projecting above ground including all necessary excavation, formwork, etc. | No | 5 |  | 0
Excavate in earth for and including circular type precast concrete manhole formed of 1599mm diameter x 300mm thick 25Mpa concrete base with manhole formed of 1250mm diameter (internally) precast concrete rings with joints sealed with bituminous putty with and including precast concrete cover slab 159mm thick with opening for and including heavy duty road type manhole cover and lockable frame as type 2A set in cement mortar and sealed in tallow and with 20Mpa concrete benching in bottom floated smooth with falls and finished on all exposed surfaces with 25mm thick granolithic with angles rounded including all necessary excavation, backfilling, carting away, risk of collapse, shoring, dewatering, concrete blinding, formwork, step irons, etc.:
41 | Manhole exceeding 1500mm and not exceeding 2000mm deep. | No | 10 |  | 0
Cleaning of Existing System:
42 | Allow for jet cleaning existing sewer pipes, manholes. etc. (various sizes) of all rubbish, debris, sewage, etc., including cleaning of the inlet & outlet pipes in both directions, including removal of existing lids, relaying existing lids as per Engineer's instructions, making good & carting away all rubbish, debris, etc. to a dumping site to be located by the contractor. | No | 1 |  | 0
Connections:
43 | Cut into existing sewer manhole for and connect new 160mm diameter uPVC pipe, including temporary sealing off, diverting, backfilling, liaising with the authorities, making good on completion. | No | 1 |  | 0
SECTION NO. 2
BILL NO. 5
STREET FURNITURE
SUPPLEMENTARY PREAMBLES
The rate for street furniture must allow for the purchase, transport, off loading, storage on site and installation. Contractor to provide samples for approval. All street furniture is to be of an Architectural standard and will be subject to the closet scrutiny for blemishes. The contractor will be hereby deemed to have taken this into account in his rates.
FOLLOWING IN STREET FURNITURE
Precast Concrete Bollards:
1 | 300mm Diameter smooth grey solid concrete balls "Vanstone P2-2401", or equal approved, precast concrete bollards including steel pegs planted in the ground including taking delivery, storing, and laying in position when required in strict accordance with the manufacturer's instructions. | No | 8 |  | 0
2 | 450mm Diameter smooth grey solid concrete balls "Vanstone P2-2403", or equal approved, precast concrete bollards including steel pegs planted in the ground including taking delivery, storing, and laying in position when required in strict accordance with the manufacturer's instructions. | No | 21 |  | 0
Garbage bins:
3 | 20Mpa mass concrete in base for garbage bins (elsewhere measured) size overall 200 x 200 x 400mm deep with top surface to be finished smooth with a steel trowel and steel ruled joints all round top of base, embedded on excavated surface, including any necessary excavation, backfilling, cartaway, formwork, finishing top surface smooth with a steel float, etc. | No | 6 |  | 0
4 | 475mm Diameter x 800mm high "Fairground Swing Bin" by "Wilson Stone", or equal approved, including lug welded on one side to prevent swinging in both directions with one rectangular section post (post size 76 x 38 x 3.2mm) & cast 200mm deep into concrete base (base elsewhere measured) including taking delivery, storing and casting in position when required in strict accordance with the manufacturer's instructions. | No | 6 |  | 0
Precast Tables and Seats:
5 | 25Mpa mass concrete in base for precast concrete seats (elsewhere measured) size overall 550 x 500 x 200mm deep with top surface to be finished smooth with a steel trowel and steel ruled joints all round top of base, embedded on excavated surface, including any necessary excavation, formwork, 2 x Y10 reinforcing starter bars, cartaway, finishing top surface smooth with a steel float, etc. | No | 74 |  | 0
6 | 25Mpa mass concrete in base for precast concrete tables (elsewhere measured) size overall 900 x 550 x 200mm deep with top surface to be finished smooth with a steel trowel and steel ruled joints all round top of base, embedded on excavated surface, including any necessary excavation, formwork, 2 x Y10 reinforcing starter bars, cartaway, finishing top surface smooth with a steel float, etc. | No | 20 |  | 0
7 | Precast "Eureka P3-3652" concrete seats by "Vanstone" or equal approved with 2No. legs cast into concrete base (elsewhere measured) including taking delivery, storing and casting in position when required in strict accordance with the manufacturers instructions. | No | 37 |  | 0
8 | Precast "Eureka P3-3670" concrete table by "Vanstone" or equal approved with 2No. legs cast into concrete base (elsewhere measured) including taking delivery, storing and casting in position when required in strict accordance with the manufacturers instructions. | No | 10 |  | 0
Tree Rings
9 | 1500mm Diameter smooth grey finish precast concrete tree rings in four quarters, as supplied by "Vanstone P2-2801", or equal approved, including taking delivery, storing and laying in position on a mortar bed when required in strict accordance with the manufacturer's instructions. | No | 53 |  | 0
10 | 15 - 19mm Gravel (50mm thick) to square and round tree rings including spreading level. | m² | 83 |  | 0
11 | Supply, deliver and install geotextile bidum layer underneath gravel (gravel elsewhere) including 200mm overlap all round. | m² | 83 |  | 0
FOLLOWING IN OUTDOOR GYM EQUIPMENT & PLAY EQUIPMENT
"Green Outdoor Gyms (GOG) Callisthenic Park Range", or equal approved, galvanised steel outdoor gym equipment including concrete foundations, installed in strict accordance with the manufacturer's instructions:
12 | Equipment size overall 7m x 2.4m x 2.5m, code TXJ JM 05. | No | 1 |  | 0
13 | Equipment size overall 3.8m x 1.8m x 2.5m, code TXJ JM 02. | No | 1 |  | 0
14 | Equipment size overall 2.8m x 2.8m x 2.8m, code TXJ JM 07. | No | 1 |  | 0
15 | Equipment size overall 4.8m x 2m x 2.5m, code TXJ 409. | No | 1 |  | 0
"Microzone Trading", or equal approved, outdoor play equipment including concrete foundations, paintwork, etc. installed in strict accordance with the manufacturer's instructions:
16 | Balancing beam (Code: CC17). | No | 1 |  | 0
17 | Rollercoaster (Code: CC24). | No | 1 |  | 0
18 | Rollertwister (Code: CC40). | No | 1 |  | 0
19 | Standard swing (Code: SW02). | No | 1 |  | 0
20 | Musical pipes (Code: ST03). | No | 1 |  | 0
21 | Fitness athletic custom climber (Code: CC02). | No | 1 |  | 0
22 | Small climber with slide (Code: CC08). | No | 1 |  | 0
23 | Medium climber with drum (Code: CC41). | No | 1 |  | 0
24 | Medium rainbow climber (Code: CC20). | No | 1 |  | 0
SECTION NO. 2
BILL NO. 6
SEATING, PLAY AREAS, WORKOUT AREA & CANOPIES
Excavation in compacted filling not exceeding 2m deep
1 | Trenches | m³ | 70 |  | 0
2 | Trenches circular on plan | m³ | 9 |  | 0
3 | Holes | m³ | 301 |  | 0
Extra over excavations in earth for excavation in
4 | Soft rock | m³ | 38 |  | 0
5 | Hard rock | m³ | 19 |  | 0
Extra over all excavations for carting away
6 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m³ | 370 |  | 0
Risk of collapse of excavations
7 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 377 |  | 0
8 | Sides of trench and hole excavations not exceeding 1,5m deep, circular on plan | m² | 31 |  | 0
Keeping excavations free of water
9 | Keeping excavations free of water other than subterranean water | Item | 1 |  | 0
Compaction of in-situ surfaces:
10 | Rip and recompact ground surface to bottom of trenches, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% modified AASHTO density within 2% of OMC, and trim to required levels. | m² | 541 |  | 0
Selected earth filling obtained from the excavations and/or prescribed stock piles on site in layers of 150mm thick compacted to 93% Mod AASHTO density
11 | Infill to seating walls. | m³ | 4 |  | 0
Selected crushed stone aggregate filter blanket of 25mm-50mm crushed stone compacted on prepared ground:
12 | Backfilling to trenches, holes, etc | m³ | 1 |  | 0
Selected imported G7 (commercial sources) natural gravel and spread, level, water and compact to a density of at least 95% modified AASHTO density within 2% of OMC in 150mm thick layers:
13 | To shaped earth mounds. | m³ | 71 |  | 0
Selected imported G7 (commercial sources) natural gravel and spread, level, water and compact to a density of at least 97% modified AASHTO density within 2% of OMC in 150mm thick layers:
14 | Bottom of trenches. | m³ | 338 |  | 0
Selected imported G5 (commercial sources) natural gravel and spread, level, water and compact to a density of at least 97% modified AASHTO density within 2% of OMC in 150mm thick layers:
15 | Bottom of trenches. | m³ | 1 |  | 0
Soil insecticide
16 | To bottoms and sides of trenches, etc | m² | 1686 |  | 0
15 MPa/19 mm concrete in
17 | Surface blinding under footings and bases | m³ | 12 |  | 0
18 | Infill to ends of precast concrete seats. | m³ | 2 |  | 0
25 MPa/19mm Concrete in
19 | Ground beams & toe blocks. | m³ | 18 |  | 0
20 | Strip footings. | m³ | 20 |  | 0
21 | Bases. | m³ | 10 |  | 0
22 | Stub columns. | m³ | 1 |  | 0
23 | Drinking fountain walls (as per attached Engineer's drawing CP053-OVP-002 and Architect's drawing 20.31/L/310_000_T). | m³ | 1 |  | 0
24 | Surface beds laid to falls. | m³ | 80 |  | 0
25 | Infill between precast concrete seats. | m³ | 3 |  | 0
25MPa high strength non-shrink grout:
Non-shrink grout shall be 1:2 cement and sand mixture, mixed dry until uniform in colour before adding water.
26 | Bedding approximately 35mm thick under 250 x 250mm base plate including chamfered edges all round. | No | 32 |  | 0
Holding down bolts:
27 | Provide template for and embed set of four 16mm diameter x 300mm long steel holding down bolts (bolts elsewhere) into top of foundation base in exact position. | No | 32 |  | 0
Thickening out:
28 | Thicken out 100mm thick surface bed size overall 500 x 250mm thick with one splayed side including all necessary excavations, formwork, etc. | m | 198 |  | 0
29 | Thicken out 100mm thick surface bed size overall 500 x 250mm thick, circular on plan with one splayed side including all necessary excavations, formwork, etc. | m | 17 |  | 0
Finishing top surfaces of concrete smooth with a wood float:
30 | Surface beds, slabs, etc. | m² | 797 |  | 0
Finishing exposed surfaces of smooth formwork
31 | Hack off projections, fill in and rub down concrete surfaces as necessary and leave ready for painting | m² | 6 |  | 0
Rough formwork to:
32 | Sides of stub columns. | m² | 13 |  | 0
33 | Edges, risers, ends and reveals not exceeding 300mm high or wide. | m | 249 |  | 0
Special formwork (Degree of Accuracy I) to:
34 | Drinking fountain walls (as per attached Engineer's drawing CP053-OVP-002 and Architect's drawing 20.31/L/310_000_T). | m² | 6 |  | 0
Extra over for forming recessed lettering to inside of special formwork to form a recessed finish to the concrete wall, formed of 19mm deep laser cut MDF board sealed with and including 3 coats of approved marine varnish including taking delivery, storing, holes in formwork, screwing into position when required, neatly finishing off the edges once the concrete has cured all in strict accordance with the Architect's and Engineers instructions (as per attached Engineer's drawing CP053-OVP-002 and Architect's drawing 20.31/L/310_000_T):
35 | Lettering size overall 1000mm x 300mm to form the word "OVAL". | No | 1 |  | 0
36 | Lettering size overall 400mm x 105mm to form the word "park". | No | 1 |  | 0
Boxing in or out special formwork to form:
37 | 20 x 100mm Deep recess to vertical face of drinking fountain walls (as per attached Engineer's drawing CP053-OVP-002 and Architect's drawing 20.31/L/310_000_T). | m | 3 |  | 0
Saw cut joints
38 | 75 x 6mm Saw cut joints in two operations in top of concrete. | m | 533 |  | 0
Mild steel rod reinforcement to structural concrete work:
39 | Various size bars. | t | 3.64 |  | 0
High tensile steel rod reinforcement to structural concrete work:
40 | Various size bars. | t | 2.43 |  | 0
Fabric reinforcement with minimum 400mm wide overlaps:
41 | Type 193 Fabric reinforcement in concrete surface beds. | m² | 805 |  | 0
Brickwork in extra hard burnt clay NFX bricks in 3:1 cement mortar:
42 | Half brick walls to seating areas. | m² | 9 |  | 0
43 | Half brick walls circular on plan, to seating areas. | m² | 15 |  | 0
44 | One brick walls to planters. | m² | 60 |  | 0
45 | One and a half brick walls to seating areas. | m² | 41 |  | 0
46 | One and a half brick walls circular on plan, to seating areas. | m² | 8 |  | 0
47 | 220mm Wide brick on edge coping. | m | 85 |  | 0
Joint forming material in movement joints
48 | 20mm Bitumen impregnated softboard built in vertically through brick walls | m | 5 |  | 0
49 | 10mm Wide fibreboard built in vertically between brickwork and concrete surfaces. | m | 216 |  | 0
Brick reinforcement
50 | 75mm Wide reinforcement built in horizontally | m | 233 |  | 0
51 | 150mm Wide reinforcement built in horizontally | m | 361 |  | 0
"222 x 106 x 73mm thick Corobrik Fynbos Rooi FBA Clay Facebrick", or equal approved, bedded and jointed in Class II mortar:
52 | Extra over brickwork for face brickwork in stretcher bond pattern and pointed with 12mm square raked horizontal and vertical joints. | m² | 81 |  | 0
53 | Extra over brickwork for face brickwork circular on plan in stretcher bond pattern and pointed with 12mm square raked horizontal and vertical joints. | m² | 15 |  | 0
54 | Face brickwork in stack bond pattern to tops of seats, not exceeding 350mm wide, and pointed with 5mm square raked horizontal and vertical joints. | m² | 3 |  | 0
55 | Face brickwork in stack bond pattern circular on plan to tops of seats, not exceeding 350mm wide, and pointed with 5mm square raked horizontal and vertical joints. | m² | 5 |  | 0
56 | 220mm Wide single bullnose coping on top of brickwork and pointed with 12mm concave horizontal and vertical joints. | m | 9 |  | 0
57 | 220mm Wide single bullnose coping circular on plan on top of brickwork and pointed with 12mm concave horizontal and vertical joints. | m | 15 |  | 0
Embankment Seating:
58 | "Infraset Type 4 Seat", or equal approved, precast concrete embankment seating system consisting of a grey hollow seat block, dry stacked at 26.56Â° on and including 75mm thick 25mpa structural screed to embankment, including taking delivery, storing and casting in position when required in strict accordance with the manufacturers instructions. | m | 142 |  | 0
59 | Ditto, laid circular on plan. | m | 9 |  | 0
60 | "Infraset Type 4 Step", or equal approved, precast concrete embankment seating system consisting of a grey hollow seat block, dry stacked at 26.56Â° on and including 75mm thick 25mpa structural screed to embankment, including taking delivery, storing and casting in position when required in strict accordance with the manufacturers instructions. | m | 142 |  | 0
61 | Ditto, laid circular on plan. | m | 9 |  | 0
Prepare and apply one coat "ABE Super Laykold", or equal approved, primer and three coats "ABE Super Laykold", or equal approved, waterproofing:
62 | To inner face of planter walls. | m² | 60 |  | 0
One layer of 250 micron type C waterproof sheeting sealed at laps with pressure sensitive tape:
63 | Under surface beds. | m² | 797 |  | 0
Grey polyurethane sealant, including backing cord, bond breaker, primer, etc
64 | Rake out 10mm thick expansion joint filler to a depth of 10mm, apply approved primer, insert packing strip and fill with type 2 gungrade polyurethane base joint sealing compound | m | 5 |  | 0
"Dow Corning 890SL", or equal approved, silicone sealant, including backing cord, bond breaker, primer, etc.
65 | Clean out 6mm thick saw cut joint, apply approved primer, insert backing cord and fill with sealing compound. | m | 533 |  | 0
Subsoil Drainage
66 | Kaymt U14, or equal approved, geofabric filter blanket wrapped around stone encasing with 150mm side and 300mm end laps including stitching. | m² | 4 |  | 0
Surface Finish to Play Areas:
67 | 10mm Thick "Recycled Rubber Concepts - Anti Slip Hard Wearing Rubber Surface", or equal approved, flooring system in a standard green colour, laid on a dry concrete surface bed (surface bed elsewhere), including all preparation work, primer, etc. installed in strict accordance with manufacturer's instructions. | m² | 258 |  | 0
68 | 50mm Thick "Recycled Rubber Concepts - Impact Safety Play Rubber Surface", or equal approved, flooring system in a combination of colours(Orange - 20%; Lime - 20%; Purple - 20%; Turquoise - 20%; Yellow - 20%), laid on a dry concrete surface bed to sloped and circular earth mounds (surface bed elsewhere), including all preparation work, primer, etc., installed in strict accordance with manufacturer's instructions. | m² | 539 |  | 0
Approved stainless steel type 304 (18/10):
69 | "Franke 1,2mm Grade 304 18/10 stainless steel SAPSDF", or equal approved, combination wash hand basin & drinking fountain (Code: 2520011), size 370 x 125 x 490mm high with 40mm concealed waste outlet, unit recessed 125mm into concrete wall and fixing in position and connecting complete in strict accordance with the manufacturer's instructions. | No | 1 |  | 0
Chromium plated taps:
70 | "Walcro 101R", or equal approved, metering tap. | No | 1 |  | 0
uPVC pipes
71 | 50mm Pipes | m | 2 |  | 0
Extra over uPVC pipes for fittings
72 | 50mm Access bend | No | 2 |  | 0
GALVANISED MILD STEEL BALUSTRADES
1100mm High galvanised mild steel balustrade comprising of 50mm x 2mm thick hollow section intermediate posts at maximum 1600mm centres including 100mm x 150mm x 10mm thick fixing plate to base of post bolted to top of concrete or brickwork with and including 4No. x 90mm long M12 bolts, 60mm x 8mm thick horizontal top and bottom flat bar members, 16mm diameter solid section vertical members fixed between horizontal top and bottom members at 200mm centres, 50mm diameter x 2mm thick continuous handrail fixed to intermediate posts with and including 50mm x 10mm x 100mm long solid section support pin, including all necessary core drilling, epoxy grouting, plastic spacer plugs, cover plates, etc. (as per attached Architects drawing 20.31/L/312_000_T):
73 | Laid straight. | m | 34 |  | 0
74 | Laid circular on plan. | m | 7 |  | 0
FENCING
"Cochrane Steel ClearVu", or equal approved, in a galvanised and alu coated finish, pressed high density anti-climbing and anti-cut pressed mesh panel fencing 1800mm high formed of 3mm diameter horizontal & vertical high tensile galvanised and alu coated wires with aperture size 76,2mm x 12,7mm and reinforced with 3 x 50mm deep V-section recessed bands including 100mm high galvanised and alu coated "shark tooth" type spike rails bolted to 50mm wide ClearVu, or equal approved, mesh flange bent along fence top with and including 2400mm long standard recess ClearVu, or equal approved, taper locking posts at 3382mm centres size overall 85 x 88 x 4mm thick sealed with UV stabilised polymer end caps and bolted to and including 15MPa/19mm aggregate concrete block 400 x 400 x 600mm deep with vandal resistant bolts and clamping plates including sealed end caps, bolts, double clamping plates, etc. in strict accordance with the manufacturer's instructions:
75 | Fence laid straight. | m | 50 |  | 0
76 | Double leaf swing gate size overall 3228 x 1800mm high formed of 76 x 38 x 3mm thick hollow section frame including 2No. hinge posts size 150 x 150 x 3mm thick, in-filled with and including "Cochrane ClearVu", or equal approved, pressed high density mesh panel fencing, including round bar drop bolts, locking device with lock box (CSP-05-0001â¢74â¢00â¢02-18-A, CSP-05-0001â¢74â¢00â¢02-18-B), hinges (CSP-05-4861_M27â¢18-01-A-R02), angle iron base pins (CSP-05-0001â¢74â¢00â¢06-18-A-002), cover plates (CSP-05-0001â¢74â¢00â¢01-18-B, CSP-05-0001â¢74â¢00â¢01-18-C), grab handles, shark tooth spikes, concrete bases, etc. installed in strict accordance with the manufacturers instructions. | No | 1 |  | 0
STRUCTURAL STEELWORK
SUPPLEMENTARY PREAMBLES
Shop drawings
The contractor will be required to prepare shop details for the work which must be submitted to the Engineer for approval before fabrication is started. Approval of shop details by the Engineer will include the following:
a) Examination of member sizes for consistency with design requirements.
b) Examination of all connections designed and/or detailed by the fabricator, for adequacy of load trasference.
c) Approval of leading dimensions which are taken to include such dimensions as may influence the design (eg, depth of trusses and girders) or which may grossly affect site programme (eg, truss spans andstanchion heights).
Norwithstanding any approval of these details, the contractor shall remain responsible for ensuring that the dimensions, details and workmanship result in the correct assembly of the work.
Material and workmanship
The steelwork is to be fabricated from mild steel to SABS 1431 Grade 300W. The whole of the fabrication and workmanship generally is to be in strict accordance with SABS 0162-1984 as amended. The material shall be of best quality throughout, free from loose rust or millscale, true to thickness and profile throughout and of the section and mass specified subject to a 2% tolerance for rolling margin. Consideration will be given to any detail variation which the contractor may wish to make with the view to the simplification of either fabrication, delivery or erection. Substitutions must be made at the contractor's own expense.
The contractor shall provide Works Test Certificates where so required by the Architect.
Testing
The Engineer shall be at liberty to select test pieces from steelwork in the workshop or on the site and to have them tested. The expense of such tests are to be borne by the contractor if the steelwork does not comply with the standards laid down above.
Hold down bolts
Holding down bolts and other fixing devices which are to be embedded in concrete must be supplied to the principal contractor on request together with the necessary information, identification and templates.
2mm Mild steel plate templates provided on a scale of one template for every five groups of bolts, suitably marked to ensure easy idetification are to be supplied to the principal contractor.
Any costs incurred by subsequent repositioning of bolts, etc resulting from the contractor having failed to furnish adequate information, identification and templates will be for the contractor's account.
Welding
Welding shall be in accordance with SABS 044 "Welding: Parts I, II and III".
Welding shall be carried out in a manner which will prevent any distortion of the weld or the parent section.
All welds shall have adequate root fusion and shall be free from cracks, porosity or other irregularities and any undercutting shall be made good by the deposition of additional runs of weld metal.
Any completed welds showing cracks, cavities or other efects shall be cut out and made good at the contractor's own expense.
Mild steel electrodes shall comply with SABS 455 "Covered Electrodes for Manual Arc Welding of Mild Steel and Medium High Tensile Steel".
Bolts
Bolts shall have well-formed heads forged from the solid. Nuts shall closely fit the bolts so that they can only just be turned by hand and at least one clear thread shall project beyond the nut when fully tightened. All bolts shall have one asher under the nuts and shall be so tightened that the threaded portion does not bear on the members connected. Where bolt heads or nuts bear upon bevelled surfaces they shall be provided with tapered washers of 2,3 mm mean thickness to provide a seating square with the axis of the bolt.
Friction grip bolts
Connections specifying high strength friction grip bolts are to be in strict accordance with SABS 094 "Bolted Friction Grip Joints in Structural Steelwork" and the bolts used are to be in accordance with BS 3139 Part 1 : 1959 "General Grade Bolts, High Strength Friction Grip Bolts for Structural Engineering".
Notwithstanding the above, the following must be rigidly adhered to :
a) Two-case hardened washers, one flat or bevelled under the head and the other flat or bevelled under the nut shall be used with each bolt.
b) Contact surfaces shall not be painted and shall be thoroughly cleaned free of dirt, oil, loose scale, burrs and other defects which are liable to reduce friction resistnace between surfaces.
c) At all times the correct torques shall be applied to the different sizes of bolts.
Erection
The steelwork generally is to be fabricated in the contractor's works having due regard to transport and erection facilities. He must supply all erection tackle, temporary erection bracing, erect and plumb all steelwork and supply all steel wedges and tacks as required. Items may be detailed for delivery "piece small" or the contractor may prefabricate if he is satisfied that suitable arrangements for transport can be made.
Connections are to be designed for the forces indicated on the drawings or to the maximum capacity of the members.
Cleaning and painting
All structural steel is to be thoroughly degreased to remove all grease or oil and then wire-brushed, scraped or sand-papered to remove all rust, mill-scale or surface contaminations and is to be immediately given one coat zinc chromate, allowed to dry overnight and given one coat of universal undercoat prior to delivery to site. All damaged paintwork is to be made good on site after erection is complete.
Testing of welders
Tenderers must include in their rates for the testing of any welder used on the work who has not been tested within a period of six months immediately preceding his employment on this contract.
Painting/corrosion protection specification
a) All steelwork shall be mechanically wire-brushed to ST3O blast clean to SA2. b) All steelwork shall receive one coat primer to DFT-100 micron.
STEEL COLUMNS, BEAMS, POSTS, ETC.
Welded columns in single lengths with flat section base, top, bearer and connection plates bolted to concrete base:
77 | IPE200 x 22.4Kg/m I-section columns including base plates, connectors, etc. | t | 1.33 |  | 0
78 | IPE200 x 22.4Kg/m I-section columns set at an 80 degree angle including base plates, connectors, etc. | t | 1.26 |  | 0
Welded rafters in single lengths with flat section gusset, bearer and connection plates:
79 | IPE200 x 22.4Kg/m I-section rafter beam including gusset plates, connectors, etc. | t | 2.31 |  | 0
PURLINS, GIRTS, BRACING, ETC.
Purlins and girts bolted to steel, all treated as per paint specification referred to above in Supplementary Preambles
80 | 125 x 50 x 20 x 2.5mm Thick Cold formed lipped channel section purlins, cleats, etc. | t | 1.98 |  | 0
81 | 50 x 50 x 3mm Thick Square hollow section support, plates, etc. | t | 0.3 |  | 0
82 | 40 x 40 x 3mm Thick angle section cleats, etc. | t | 0.31 |  | 0
BOLTS, ETC.
83 | M16 Fully threaded holding down bolts including anchor plates, nuts and washers with one end tack welded to steel plate (elsewhere). | No | 128 |  | 0
PROFILED METAL SHEETING
0,5mm Thick "GRS Klip-Tite". or equal approved profiled sheet metal sheeting with Chromadek Z200 (Charcoal) finish to one side, sheets 700mm wide with one male and female rib at ends 41mm high and two centre ribs 41mm high, in single lengths fixed to steel purlins by means of concealed fixings and fully interlocking fixing clips, including heavy duty industrial gauge accessories, fixed in strict accordance with the manufacturer's instructions:
84 | Sheeting laid to steel trusses with pitch not exceeding 50 degrees in single lengths (measured nett). | m² | 283 |  | 0
85 | Sheeting fixed vertically to steel purlins in single lengths (measured nett). | m² | 42 |  | 0
0,58mm Thick flashings, etc.:
86 | 400mm Girth flashing, four times bent (as per attached Architect's drawing 17.14/101). | m | 119 |  | 0
SUN SCREENS
3mm Thick "Dibond ACM", or equal approved, lightweight aluminium composite sheets formed of two aluminium cover layers and a polyethylene core fixed with self tapping screws to steel purlins (purlins elsewhere) with and including circular perforations of various sizes from 25mm diameter to 70mm diameter increasing in 5mm increments formed by contour cutting or contour milling processes in a CNC machine, all in strict accordance with the manufacturer's instructions (attached Architect's drawing 17.14/101):
87 | Panel size overall 4066mm wide x 1500mm high. | No | 5 |  | 0
PAINTWORK
Clean down, touch up with primer for steel where required, and apply one coat "PPG Amercoat 68HS", or equal approved, primer coat, one coat "PPG Amercoat 385", or equal approved, intermediate coat and one coat "PPG Amercoat 450H", or equal approved, top coat on:
88 | Structural steel members. | t | 7.48 |  | 0
SECTION NO. 2
BILL NO. 7
The Tenderer is referred to the relevant Clauses in the separate document Model Preambles for Trades (2017 Edition)
ALTERATIONS
Take out and remove doors, windows, etc. including thresholds, sills, etc. from brickwork to be demolished:
1 | Single leaf door and frame unit size overall 813 x 2032mm high from half brick wall. | No | 10 |  | 0
Carefully take down and set aside for reuse including safely securing and maintaining:
2 | Timber tongue and groove ceiling panels. | m² | 150 |  | 0
3 | Polystyrene cornices. | m | 220 |  | 0
Take out and remove glass, mirrors, etc.:
4 | Glass from existing steel window frames including cleaning out rebates and preparing for new glass. | m² | 60 |  | 0
Hack up/off and remove wall and floor tiles including removing mortar bed or backing and preparing concrete or brick surfaces for new screed, plaster or tile finishes:
5 | Ceramic tiles to floors. | m² | 300 |  | 0
6 | Ceramic tiles to walls. | m² | 15 |  | 0
7 | 75mm Ceramic skirtings. | m | 186 |  | 0
Take up and remove vinyl floor coverings, carpeting, etc.:
8 | Vinyl tiles. | m² | 50 |  | 0
Relocation of Existing Containers
9 | Relocate existing container building, size overall 5.2m x 6m, to a location within an 80m radius including disconnecting all existing services and reconnecting in the new position, new plinths, etc. | Item | 1 |  | 0
10 | Carefully take up and remove existing ClearVu fence, set aside securely, and reinstall once the container has been relocated, including all foundation bases, etc. | m | 10 |  | 0
CONCRETE, FORMWORK AND REINFORCEMENT
25MPa/19mm Concrete in:
11 | Steps. | m³ | 2 |  | 0
Rough formwork to sides of:
12 | Edges, risers, ends and reveals not exceeding 300mm high or wide. | m | 12 |  | 0
High tensile steel reinforcement
13 | Various size bars | t | 1 |  | 0
Repair Work to Existing Spalling Concrete in Various Isolated Locations (Scaffolding to be allowed in rates):
14 | Hammer test concrete around exposed reinforcement and carefully strip back existing spalled concrete until solid concrete is reached and expose reinforcement with 10mm space all around bars, blow out all loose materials from the affected area, remove corroded reinforcement, prepare existing reinforcement by wire brushing or sand blasting to remove all rust and treat with "Prostruct 688", or equal approved, anti corrosion primer, applied in strict accordance to manufacturer's instruction. | m³ | 10 |  | 0
15 | Apply "a.b.e. Epidermix 345", or equal approved, concrete adhesive to all exposed concrete, applied in strict accordance with the manufacturers instructions. | m² | 20 |  | 0
16 | 12mm Diameter High tensile steel dowel bars 150mm long with one end embedded 150mm deep in concrete with "Hilti HY 200-A", or equal approved, chemical anchor, in strict accordance with the manufacturer's instructions. | No | 160 |  | 0
17 | 12mm Diameter High tensile steel reinforcement bars. | t | 2 |  | 0
18 | Smooth formwork to sides and soffits of beams, columns and walls. | m² | 30 |  | 0
19 | 25MPa/13mm Concrete to beams, columns and walls. | m³ | 20 |  | 0
MASONRY
Brickwork in burnt clay NFP bricks in 3:1 cement mortar:
20 | Half brick walls. | m² | 4 |  | 0
Brick reinforcement:
21 | 75mm Wide reinforcement built in horizontally. | m | 16 |  | 0
WATERPROOFING
Tough spun-bonded continuous polyester membrane 200mm wide secured with an approved adhesive over all side lapse, end lapse, roof screws, etc. in strict accordance with the manufacturers instructions on existing:
22 | Galvanised roof sheeting. | m² | 90 |  | 0
ROOF COVERINGS, ETC
0,5mm Thick "Safintra Classicor Corrugated AZ150 ZincAl" roof sheeting with chromadek finish on one side in single lengths fixed to timber purlins including heavy industrial chromadek finishings all fixed in strict accordance with the manufacturer's instructions:
23 | Sheeting laid to roof with pitch not exceeding 50 degrees in single lengths (measured nett). | m² | 5 |  | 0
145mm Thick "Isotherm", or equal approved, non-combustible flexible glasswool insulation with a white metalised foil face on the one side, installed in strict accordance with the manufacturers instructions:
24 | Insulation laid taut over timber purlins and fixed concurrent with roof covering in strict accordance with the manufacturers instructions. | m² | 200 |  | 0
Existing Roof Sheeting:
25 | Fix down existing loose sheeting at the joints, to timber purlins including all necessary roof screws, etc. | m | 50 |  | 0
CEILINGS
Carefully reinstate existing ceilings and cornices from stockpiles on site:
26 | Timber tongue and groove ceiling panels. | m² | 150 |  | 0
27 | Polystyrene cornices. | m | 220 |  | 0
135mm Thick "Starfibre", or equal approved, ceiling insulation with a density of 10kg/m3 closely fitted between timber trusses and laid on top of:
28 | Ceilings suspended not exceeding 1m below timber trusses. | m² | 150 |  | 0
CARPENTRY AND JOINERY
Hollow Core Doors:
44mm Thick heavy duty door with hardwood concealed edge strips and finished on both sides with hardboard and hung on steel frames (frames elsewhere):
29 | Door size overall 813 x 2032mm high. | No | 10 |  | 0
Fire Doors
30 | "Bitcon Rubidor", or equal approved, Class D single leaf fire door size overall 813 x 2032mm high in accordance with SABS 1253 with a commercial veneer and concealed steel cladding including 2mm galvanised steel custom made door frame to suit one brick wall rebated on one side and other side splayed at 45 degrees complete with hoop iron anchors welded to frame, one adjustable stainless steel striking plate suitable for mortice lock, three rubber shock absorbers in rebate and one and a half pairs of 100mm heavy duty brass hinges including preparing frame for door closer. | No | 3 |  | 0
IRONMONGERY
Hinges, Bolts, etc.
31 | "DCLSA", or equal approved, 100 x 75 x 1.7mm stainless steel 4 ball bearing butt hinges (Code: VER210076/1.7). | No | 40 |  | 0
Locks
32 | "Union SS8023SS", or equal approved, stainless steel WC indicator bolt. | No | 10 |  | 0
Handles
33 | "Assa Abloy Dove", or equal approved, handle on 150 x 50mm oval backplate with Satin Chrome finish (Code: CB6D20-13SC) including oval cylinder upright lock case (Code: L-2241-78SS) and 66mm oval double cylinder (code: 2x6SCMKD). | Pairs | 15 |  | 0
34 | "Assa Abloy Dove", or equal approved, handle on 150 x 50mm oval backplate with satin chrome finish (Code: CB6D20-06SC) including mortice latch (Code: 2657-78SS). | Pairs | 20 |  | 0
Door Closers
35 | "Assa Abloy 7772", or equal approved,overhead door closer with regular arm (Code: 7772) and necessary mounting brackets, etc. | No | 5 |  | 0
Existing Windows and Door Ironmongery
36 | Service existing hinges, locks, handles, etc. | No | 150 |  | 0
Grab Rails
37 | "Franke CNTX750", or equal approved, stainless steel straight grab rail including mounting brackets screwed and plugged to wall. | No | 2 |  | 0
38 | "Franke CNTX21", or equal approved, stainless steel angle grab rail including mounting brackets screwed and plugged to wall. | No | 2 |  | 0
Bathroom Fittings
39 | "Franke STRX605", or equal approved, stainless steel waste bin fixed to wall. | No | 6 |  | 0
40 | "Franke STRX611", or equal approved, stainless steel sanitary towel disposal bin fixed to wall. | No | 6 |  | 0
41 | "Franke STRX618", or equal approved, stainless steel lockable soap dispenser fixed to wall. | No | 18 |  | 0
42 | "Franke STRX600", or equal approved, stainless steel paper towel dispenser fixed to wall. | No | 6 |  | 0
43 | "Franke HF2400HD", or equal approved, stainless steel automatic hand dryer fixed to wall. | No | 6 |  | 0
44 | "Franke STRX672", or equal approved, stainless steel two roll lockable type toilet roll holder fixed to wall. | No | 18 |  | 0
45 | "Franke BHM6P", or equal approved, stainless steel double arm soap rack fixed to wall. | No | 10 |  | 0
Sundry Items
46 | "Union", or equal approved, stainless steel door stop (Code: 87001SS). | No | 20 |  | 0
STRUCTURAL STEELWORK
Following in Structural Steel Supports to Existing Timber Deck
Welded beams in single lengths with flat section gusset, bearer and connection plates:
47 | IPE160 x 15.8Kg/m x 7500mm long Beams, including gusset plates, connectors, bolts, etc. installed to top of existing internal walls. | No | 10 |  | 0
METALWORK
1,6mm Thick double rebated frames suitable for one brick walls complete with hoop iron anchors welded to frame, 4.2mm thick flanged adjustable steel striking plate suitable for cylinder locks, three rubber shock absorbers in rebate and one and a half pair 100mm ball bearing stainless steel hinges screwed to frame with stainless steel screws:
48 | Frame for door size 813 x 2032mm high. | No | 10 |  | 0
"Aluglass Bautech ShowerflexÂ® Silver Grey", or equal approved, powdercoated aluminium framed shower enclosure, glazed in stipolyte toughened safety glass, fixed complete to walls including pointing all round both sides of frame, all in strict accordance with teh manufacturer's instructions:
49 | Doors size overall 900 x 1800mm high. | No | 10 |  | 0
PLASTERING
One coat cement plaster minimum 15mm thick finished smooth with a wood float and a finishing coat of rhinolite including all labours on brickwork:
50 | On walls, part on concrete. | m² | 8 |  | 0
51 | In narrow widths. | m² | 1 |  | 0
TILING
Allow a Prime Cost Amount of R170/m2 for ceramic floor tiles fixed with "Tal Goldstar 6", or equal approved, ceramic adhesive mixed with "Tal Bond", or equal approved, to screed (screed elsewhere) and flush pointed with "Tal Wall and Floor Grout" grout:
52 | Floors. | m² | 350 |  | 0
53 | Narrow widths. | m² | 5 |  | 0
54 | 100mm High skirting. | m | 186 |  | 0
PLUMBING AND DRAINAGE
Taps, Valves, etc.
55 | "Hansgrohe Focus (31964000)", or equal approved, single lever shower mixer for concealed installation. | No | 10 |  | 0
56 | "Hansgrohe Clubmaster Chrome (27475000)", or equal approved, 3 jet overhead shower head and arm. | No | 10 |  | 0
Fire Service
Medium class galvanised mild steel screwed and socketed piping with Klambon joints in accordance with SABS 62 fixed to walls, concrete soffits, etc. including all hangers & brackets:
57 | 25mm Diameter pipe. | m | 150 |  | 0
Extra over galvanised pipes for fittings:
58 | 25mm Fittings. | No | 30 |  | 0
Hose Reels, etc.:
59 | Approved hose reel complete with 30m of 19mm hose all to SABS 543 incorporating 25mm chromium plated gunmetal gate valve and connection for and joint to supply pipe with brackets bolted to wall with and including four 8mm bolts with plate washers built 100mm into brickwork in cement mortar. | No | 10 |  | 0
60 | Approved 4,5Kg DCP cylindrical fire extinguisher fixed on and including backing boards to walls. | No | 20 |  | 0
GLAZING
Glazing to Steel with Putty
"PG Smartglass", or equal approved, 6mm Low-E X1 standard glass:
61 | Panes exceeding 0,1m2 and not exceeding 0,5m2. | m² | 30 |  | 0
62 | Panes exceeding 0,5m2 and not exceeding 2m2. | m² | 18 |  | 0
"PG Smartglass Intruderprufe", or equal approved, 6.38mm laminated safety glass:
63 | Panes exceeding 0,1m2 and not exceeding 0,5m2. | m² | 12 |  | 0
Mirrors
64 | 600 x 400mm "Design House C-MIR-10016", or equal approved, mirror fixed to brickwork. | No | 12 |  | 0
PAINTWORK
Paintwork to New Work
Prepare and apply one coat "Plascon", or equal approved, plaster primer and two coats "Plascon Cashmere", or equal approved, paint:
65 | On internal plastered walls, columns, recessed bands, etc | m² | 10 |  | 0
Prepare and apply one coat "Plascon", or equal approved, metal primer and two coats "Plascon Velvaglo", or equal approved, paint:
66 | On door frames | m² | 10 |  | 0
Sand down, prepare and apply one coat "Plascon", or equal approved, wood primer and two coats "Plascon Velvaglo", or equal approved, paint:
67 | On general surfaces of doors. | m² | 50 |  | 0
Paintwork to Previously Painted Work
Prepare and apply two coats "Plascon Cashmere", or equal approved, paint:
68 | On internal plastered walls and projecting columns. | m² | 250 |  | 0
Clean down, remove rust, prepare and apply one coat "Plascon", or equal approved, metal primer and two coats "Plascon Velvaglo", or equal approved, paint:
69 | On window frames | m² | 80 |  | 0
Sand down, prepare and apply two coats of "Woodoc 25 Matt", or equal approved, wood sealer:
70 | On timber floors. | m² | 380 |  | 0
Clean down, prepare and apply two coats "Cemcrete Creteseal", or equal approved, clear, satin finish PUD/acrylic seal in strict accordance with the manufacturers instructions on:
71 | Concrete floors. | m² | 60 |  | 0
1 | Preliminaries & General |  |  |  | 1742000
2 | Demolitions |  |  |  | 0
3 | General Siteworks |  |  |  | 10000
4 | Paving, Kerbs, etc. |  |  |  | 50000
5 | Stormwater, Sewer, Water Reticulation |  |  |  | 0
6 | Street Furniture |  |  |  | 0
7 | Seating, Play Areas, Workout Area & Canopies |  |  |  | 0
8 | Building Work |  |  |  | 0
9 | Electrical Installation |  |  |  | 206500
10 | Landscaping Installation |  |  |  | 0
11 | Sub-Total |  |  |  | 2008500
Main Contractor Profit & Attendance on SMME Work
12 | Value of SMME Work (30% of the full scope of work) |  |  | 602550
13 | Main Contractor Profit & Attendance | % | 10% |  | 60255
14 | Sub-Total |  |  |  | 2068755
15 | ADD VAT @ 15% |  |  |  | 310313.25
16 | Total Including VAT Carried to Form of Offer |  |  |  | 2379068.25
Note on D1352: Tenderers: Insert percentage

## Electrical
BERTHA SOLOMON RECREATION CENTRE
ELECTRICAL INSTALLATION
BILLS OF QUANTITIES
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL NO:1
1 | PRELIMINARY AND GENERAL
The tenderer shall allow for whatever cost they may consider necessary for Preliminary and General to carry out the Electrical Installation as detailed in the conditions of contract.
1.1 | Site Establishment | Sum | 1 |  | 0
1.2 | Construction equipment | Sum | 1 |  | 0
1.3 | Guarantee | Sum | 1 |  | 0
1.4 | Insurance | Sum | 1 |  | 0
1.5 | Laison with City Power | Sum | 1 |  | 0
1.6 | Preparation of As Built drawings | Sum | 1 |  | 0
1.7 | Supply Operating and Maintenance manuals for the various electrical components | Sum | 1 |  | 0
1.8 | Covid 19 Health and Safety Compliance | Sum | 1 |  | 0
1.9 | Any other items not mentioned above (please specify)
| i) | Sum | 1 |  | 0
| ii) | Sum | 1 |  | 0
| iii) | Sum | 1 |  | 0
| CARRIED FORWARD TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL NO:2 - BLOCK A
1 | CONDUIT
Supply and installation of PVC/ Galvanised conduit complete with all accessories including couplings, bending and fixings as specified:
1.1 | 20mmɸ - cast in concrete or built in brickwork | m | 20 |  | 0
1.2 | 25mmɸ - cast in concrete or built in brickwork | m | 20 |  | 0
2 | CONDUIT BOXES
Supply and install conduit boxes complete with all accessories including conduit terminations
2.1 | 60mm round, 25mm deep for 20mm conduit mounted flush in wall or fixed to surface | No. | 15 |  | 0
Outlet boxes excluding covers:
2.2 | 100mm x 50mm x 50mm conduit box. | No. | 5 |  | 0
2.3 | 100mm x 100mm x 50mm conduit box. | No. | 5 |  | 0
3 | WIRING AND CONDUCTORS
Supply and install PVC insulated copper conductors in required colours, drawn into conduit or trunking:
3.1 | 2.5mm² | m | 500 |  | 0
3.2 | 4mm² | m | 300 |  | 0
3.3 | 6mm² | m | 60 |  | 0
3.4 | 2.5mm² B.C.E.W. | m | 400 |  | 0
3.5 | 4mm² B.C.E.W. | m | 30 |  | 0
4 | LIGHT SWITCHES
Supply, install and connect flush mounted light switch complete with cover plate and all accessories:
4.1 | 16A 1 lever 1 way light switch complete with coverplate. | No. | 4 |  | 0
4.2 | 16A 1 lever 2 way light switch | No. | 2 |  | 0
5 | LUMINAIRES
Supply, install and connect luminaires mounted as specified, complete with lamps, control gear and all accessories:
5.1 | 1200mm surface mounted open channel flourescent luminaire complete with 39W LED cool white, | No. | 8 |  | 0
5.2 | 6" Bowl fittings complete with 14W LED bulbs diffuser | No. | 10 |  | 0
5.3 | 13W LED Wall mounted bulkhead luminaire complete with vandalproof diffusser | No. | 4 |  | 0
CARRIED FORWARD TO NEXT PAGE
0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
| BROUGHT FORWARD FROM PREVIOUS PAGE |  |  |  | 0
6 | SWITCHED SOCKET OUTLETS
Supply, install and connect Switched socket outlets mounted flush in wall or in powerskirting as specified, complete with cover plates and all accessories:
6.1 | 16A Single switch socket outlet (White) | No. | 2 |  | 0
6.2 | 16A Double switch socket outlet (White) | No. | 5 |  | 0
7 | ISOLATORS
Supply and install Isolators mounted as specified complete with cover plate and all accessories.
7.1 | Single Phase Isolator | No. | 1 |  | 0
7.2 | Hand Dryer Isolator | No. | 1 |  | 0
8 | PROVISIONAL SUMS
8.1 | Earthing and Lightning Protection | Sum | 1 | 10000 | 10000
8.2 | Add profit & attendance: .....% | Sum | % |  | 0
8.3 | CCTV and Security Alarm System | Sum | 1 | 40000 | 40000
8.4 | Add profit & attendance: .....% | Sum | % |  | 0
8.5 | Modification to the distribution boards | Sum | 1 | 10000 | 10000
8.6 | Add profit & attendance: .....% | Sum | % |  | 0
8.7 | Replacement of blown light LED tubes | Sum | 1 | 2500 | 2500
| Add profit & attendance: .....% | Sum | % |  | 0
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 62500
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL NO:3 - BLOCK B
1 | CONDUIT
Supply and installation of PVC/ Galvanised conduit complete with all accessories including couplings, bending and fixings as specified:
1.1 | 20mmɸ - cast in concrete or built in brickwork | m | 100 |  | 0
1.2 | 25mmɸ - cast in concrete or built in brickwork | m | 100 |  | 0
2 | CONDUIT BOXES
Supply and install conduit boxes complete with all accessories including conduit terminations
2.1 | 60mm round, 25mm deep for 20mm conduit mounted flush in wall or fixed to surface | No. | 20 |  | 0
Outlet boxes excluding covers:
2.2 | 100mm x 50mm x 50mm conduit box. | No. | 10 |  | 0
2.3 | 100mm x 100mm x 50mm conduit box. | No. | 5 |  | 0
3 | WIRING AND CONDUCTORS
Supply and install PVC insulated copper conductors in required colours, drawn into conduit or trunking:
3.1 | 2.5mm² | m | 500 |  | 0
3.2 | 4mm² | m | 300 |  | 0
3.3 | 6mm² | m | 60 |  | 0
3.4 | 2.5mm² B.C.E.W. | m | 800 |  | 0
3.5 | 4mm² B.C.E.W. | m | 30 |  | 0
4 | LIGHT SWITCHES
Supply, install and connect flush mounted light switch complete with cover plate and all accessories:
4.1 | 16A 1 lever 1 way light switch complete with coverplate. | No. | 10 |  | 0
4.2 | 16A 1 lever 2 way light switch | No. | 4 |  | 0
5 | LUMINAIRES
Supply, install and connect luminaires mounted as specified, complete with lamps, control gear and all accessories:
5.1 | 1200mm surface mounted open channel flourescent luminaire complete with 39W LED cool white, | No. | 8 |  | 0
CARRIED FORWARD TO NEXT PAGE
0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
| BROUGHT FORWARD FROM PREVIOUS PAGE |  |  |  | 0
5.2 | 6" Bowl fittings complete with 14W LED bulbs diffuser | No. | 10 |  | 0
5.3 | 13W LED Wall mounted bulkhead luminaire complete with vandalproof diffusser | No. | 6 |  | 0
6 | SWITCHED SOCKET OUTLETS
Supply, install and connect Switched socket outlets mounted flush in wall or in powerskirting as specified, complete with cover plates and all accessories:
6.1 | 16A Single switch socket outlet (White) | No. | 9 |  | 0
6.2 | 16A Double switch socket outlet (White) | No. | 6 |  | 0
7 | ISOLATORS
Supply and install Isolators mounted as specified complete with cover plate and all accessories.
7.1 | Single Phase Isolator | No. | 1 |  | 0
7.2 | Hand Dryer Isolator | No. | 1 |  | 0
8 | PROVISIONAL SUMS
8.1 | Earthing and Lightning Protection | Sum | 1 | 10000 | 10000
8.2 | Add profit & attendance: .....% | Sum | % |  | 0
8.3 | CCTV and Security Alarm System | Sum | 1 | 40000 | 40000
8.4 | Add profit & attendance: .....% | Sum | % |  | 0
8.5 | Modification to the distribution boards | Sum | 1 | 15000 | 15000
8.6 | Add profit & attendance: .....% | Sum | % |  | 0
8.7 | Replacement of blown light LED tubes | Sum | 1 | 2500 | 2500
8.8 | Add profit & attendance: .....% | Sum | % |  | 0
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 67500
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL NO:4 - BLOCK C
1 | CONDUIT
Supply and installation of PVC/ Galvanised conduit complete with all accessories including couplings, bending and fixings as specified:
1.1 | 20mmɸ - cast in concrete or built in brickwork | m | 80 |  | 0
1.2 | 25mmɸ - cast in concrete or built in brickwork | m | 80 |  | 0
2 | CONDUIT BOXES
Supply and install conduit boxes complete with all accessories including conduit terminations
2.1 | 60mm round, 25mm deep for 20mm conduit mounted flush in wall or fixed to surface | No. | 10 |  | 0
Outlet boxes excluding covers:
2.2 | 100mm x 50mm x 50mm conduit box. | No. | 5 |  | 0
2.3 | 100mm x 100mm x 50mm conduit box. | No. | 5 |  | 0
3 | WIRING AND CONDUCTORS
Supply and install PVC insulated copper conductors in required colours, drawn into conduit or trunking:
3.1 | 2.5mm² | m | 200 |  | 0
3.2 | 4mm² | m | 100 |  | 0
3.3 | 6mm² | m | 40 |  | 0
3.4 | 2.5mm² B.C.E.W. | m | 150 |  | 0
3.5 | 4mm² B.C.E.W. | m | 20 |  | 0
4 | LIGHT SWITCHES
Supply, install and connect flush mounted light switch complete with cover plate and all accessories:
4.1 | 16A 1 lever 1 way light switch complete with coverplate. | No. | 6 |  | 0
4.2 | 16A 1 lever 2 way light switch | No. | 4 |  | 0
5 | LUMINAIRES
Supply, install and connect luminaires mounted as specified, complete with lamps, control gear and all accessories:
5.1 | 1200mm surface mounted open channel flourescent luminaire complete with 39W LED cool white, | No. | 4 |  | 0
CARRIED FORWARD TO NEXT PAGE
0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
| BROUGHT FORWARD FROM PREVIOUS PAGE |  |  |  | 0
5.2 | 6" Bowl fittings complete with 14W LED bulbs diffuser | No. | 6 |  | 0
5.3 | 13W LED Wall mounted bulkhead luminaire complete with vandalproof diffusser | No. | 6 |  | 0
6 | SWITCHED SOCKET OUTLETS
Supply, install and connect Switched socket outlets mounted flush in wall or in powerskirting as specified, complete with cover plates and all accessories:
6.1 | 16A Single switch socket outlet (White) | No. | 2 |  | 0
6.2 | 16A Double switch socket outlet (White) | No. | 4 |  | 0
7 | ISOLATORS
Supply and install Isolators mounted as specified complete with cover plate and all accessories.
7.1 | Single Phase Isolator | No. | 1 |  | 0
7.2 | Hand Dryer Isolator | No. | 1 |  | 0
8 | PROVISIONAL SUMS
8.1 | Earthing and Lightning Protection | Sum | 1 | 10000 | 10000
8.2 | Add profit & attendance: .....% | Sum | % |  | 0
8.3 | CCTV and Security Alarm System | Sum | 1 | 40000 | 40000
8.4 | Add profit & attendance: .....% | Sum | % |  | 0
8.5 | Modification to the distribution boards | Sum | 1 | 10000 | 10000
8.6 | Add profit & attendance: .....% | Sum | % |  | 0
8.7 | Replacement of blown light LED tubes | Sum | 1 | 1500 | 1500
8.8 | Add profit & attendance: .....% | Sum | % |  | 0
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 61500
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
5 | BILL NO:5 - AREA LIGHTING
Supply, install and connect luminaires mounted as specified, complete with lamps, control gear and all accessories:
1.1 | 2x 80W LED Solar flood lights mounted on 10m (MH) galvanised steel stepped pole powder coated matt green with spigot only as detailed in the specifications complete with two fuses, internal wiring, spigot and including pole holes and all other acccessories including 250W solar panel and battery. | No | 6 |  | 0
1.2 | 27W LED post top light fitting complete with 3m stepped fiberglass pole including glandplate and MCB | No | 8 |  | 0
| Modification to the existing floor standing area/security lighting control box including controls | Sum | 1 | 15000 | 15000
Supply and install PVC insulated copper conductors in required colours, drawn into conduit or trunking:
1.3 | 6.0 mm² 3-core PVC/SWA/PVC Cable | m | 80 |  | 0
1.4 | 6.0 mm² 3-core PVC/SWA/PVC Cable Terminations | m | 4 |  | 0
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  | 15000
ITEM | DESCRIPTION |  |  |  | AMOUNT
SUMMARY OF ELECTRICAL WORK
1 | Preliminary and General |  |  |  | 0
2 | Block A |  |  |  | 62500
3 | Block B |  |  |  | 67500
4 | Block C |  |  |  | 61500
5 | Area lighting |  |  |  | 15000
| SUB-TOTAL - CARRIED FORWARD TO FINAL SUMMARY |  |  |  | 206500

## Landscaping 1
ITEM NO | DESCRIPTION |  | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 1
MISCELLANEOUS ITEMS
1.1 |  | SITE CLEARANCE
| a. | Loading and removal to the Contractors own dumping site all unusable material, debris and stone, unused plant materials, placed in measurable storage heaps, resulting from the initial soil preparation to the final finishing process (other than specified).
| b. | Collect unwanted materials and place in measurable heaps, and certified by Landscape Architect on site prior to removal.
| c. | The contractor should at all times ensure to keep the site in a neat and tidy condition.
| d. | Provision for removal of unwanted material or material not suitable for fill (20mm average layer) | m³ | 109.1 |  | 0
1.2 | DECOMPACTION
| a | Material to be spoiled on site
| b | Decompaction for trees (0.5 m³/tree) | m³ | 20
| c | Decompaction on all plant beds 200 mm deep) | m³ | 7
|  | Total for decompaction | m³ | 27 |  | 0
0
Carried to Summary

## Landscaping 2
ITEM NO | DESCRIPTION |  | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 2
EARTH WORKS AND SOIL PREPARATION
2.1 | PLANTING MEDIUM
2.1.1 | Topsoil Import and Spread
| a | The contractor to provide all necessary equipment, labor and machinery for import and spread of topsoil.
| b | The topsoil to be free of any building rubble, rocks or plant materials.
| c | Inclusive of all handwork where required.
| d | Compact soils where required, and prevent erosion at all times.
| e | IMPORTANT NOTE FOR IMPORT OF TOPSOIL: PAYMENT FOR TOPSOIL WILL ONLY TAKE PLACE ON RECEIPT OF SIGNED DELIVERY NOTES BY THE LANDSCAPE ARCHITECT PRIOR TO EACH PAYMENT CERTIFICATE. TOPSOIL WILL NOT BE CERTIFIED WITHOUT THE DELIVERY NOTES.
| f | Rate to be all inclusive
| g | 500 mm for planters | m³ | 17.5
| h | 0.34m³ per tree hole | m³ | 16.32
| i | 100 mm layer over lawn areas | m³ | 300
| j | Total spreading of topsoil from stockpile on site (for lawn areas) | m³ | 300 |  | 0
| k | Total topsoil import and spread on site | m³ | 33.82 |  | 0
2.1.2 |  | Cut to Fill for levelling, grading and shaping to profiles
| a | Cut to Fill for levelling, grading and levelling in insitu soil to desired profiles anywhere on site as indicated on plan or directed by the Landscape Architect
| b | Soil filling to be sufficiently compacted in 150mm layers to avoid subsidence
| c | Soils to be selected as to requirement
| d | Inclusive of handwork where required
| e | Inclusive of profilling to drainage points or general site drainage
| f | Work measure insitu (contractor to ensure existing soil profiles are measured and controlled prior to work commencing) | m² | 2000 |  | 0
2.1.3 | Scarifying
| a | Supply all the necessary equipment, tools and labor for scarifying of all areas.
| b | Rip soil in all areas.
| c | Depth -- 250 mm.
| d | Rip in two directions.
| e | Use hand labour to scarify under trees to ensure that tree roots do not get damaged.
| f | Contractor to ensure that no services, existing paving or concrete haunching behind curbs, are damaged.
| g | Remove all unwanted debris and medium to large sized rocks from the scarified soils and use suitable materials for soil berm filling.
| h | All inclusive rate per square meter.
| i | Provision for scarifying of planting areas | m² | 3035 |  | 0
2.1.4 | Fine grading
| a | Supply all necessary labor, machinery and equipment for the fine trimming of the planting soils of all areas.
| b | The contractor must ensure that all areas to be planted are compacted sufficiently to avoid any subsidence later on. Soil surface to be planted should not exceed a tolerance of 30mm in height when measured from the basic topographical line.
| c | Cultivate fertilizers and compost as supplied elsewhere.
| d | Provision must be made for proper and effective stormwater drainage.
| e | Soil erosion should be avoided at all times.
| f | Stones larger than 40mm in diameter and all foreign material must be removed and used for fill.
| g | Final surface must be shaped to desired profiles as to flow into levels of roadways and structures.
| h | No irrigation or storm water should be allowed to puddle anywhere behind the retaining walls or in any of the allocated plant bed areas.
| i | Provision for planting areas | m² | 3035 |  | 0
2.1.5 | Compost import and spreading in plant beds
| a | The contractor to provide all necessary equipment, labor and machinery for import and spread of compost.
| b | Sample of compost must comply with specification and be approved by the Landscape Architect prior to delivery on site.
| c | All compost shall consist of well-decomposed organic material, free of detrimental salts, glass, debris, weeds and other toxic impurities.
| d | The pH shall not exceed 7.0.
| e | Compost shall be protected against excessive rain, wind and dissipation.
| f | Payment after planting.
| g | Application rate
| h | IMPORTANT NOTE: PAYMENT FOR COMPOST WILL ONLY TAKE PLACE ON RECEIPT OF SIGNED DELIVERY NOTES BY THE LANDSCAPE ARCHITECT PRIOR TO EACH PAYMENT CERTIFICATE. COMPOST WILL NOT BE CERTIFIED WITHOUT THE DELIVERY NOTES.
| i | 30 mm deep over planting areas | m³ | 1.05
| j | 15 mm deep over lawn areas | m³ | 45
| j | 0.70m³ per tree hole | m³ | 33.6
| k. | Total compost import and spread | m³ | 46.05 |  | 0
2.1.6 | Fertilizers
2.1.6.1 | Planting tablets for trees
| a | Supply, deliver and apply as per supplier specification AGRIFORM PLANTING TABLETS (or similar product)
| b | 21gm: 2 year release
| c | Application rate:
| d | 8 tablets per tree out of 100liter container or larger
| e | 6 tablets per tree out of 50liter container
| f | 4 tablets per tree out of 20 liter contrainer
| g | 375 g/per tree hole
| h | Total tablets | No | 384 |  | 0
2.1.6.2 |  | Limestone ammonium nitrate over surface
| a. | Application rate : 15 gm per m² for lawn areas and 25 gm per planting hole for groundcovers
| b. | To be spread every 2 weeks after planting
| c. | Irrigate well after application
| d. | Provision made for 8 applications
| e. | LAWN 15gm/sqm |  | 45
| f. | PLANTING 25gm/hole | kg | 4
| h. | 8 Applcations | kg | 392 |  | 0
FERTILIZERS
2.1.6.3 | Mixture 2:3:2 over planting
| a | Application rate : 50 gm per m²
| b | Spread prior to fine trimming.
| c | Working in 200 mm deep.
| d | Payment per m³ after fine trimming
| e | Rate to be all inclusive
| f | 50 g/m² in planting areas | kg | 1.75
| g | 100 g/per tree hole | kg | 4.8
| h | Total | kg | 6.55 |  | 0
2.1.7 | Mulching
| - | Provision for supply, deliver and spread of approved mulch over all planting areas except stormwater swales
| - | Mulch shall consist of bark chips. The bark chips should vary in size between 7 and 10cm in diameter and should be free of seed or damaging salts and other impurities and with a pH not higher than 7.0. A sample must be submitted to the Landscape Architect for approval
| - | All planting areas to be covered with approved mulch
| - | A 50mm thick layer of approved mulch shall be placed around the stems and, thoroughly watered.
Rate to be all inclusive
| a | Import and spreading of bark shavings mulching in landscape areas, 50mm layer wood chip mulch over community planter beds (165 m²) | m³ | 1.75 |  | 0
2.1.8 | Removal + Pruning of trees
| a | Cut down, including removing of stump & roots up to 1m below soil level and chip on site to be used as mulch. The rate must allow for all costs of all herbicide applications, purchases, protective clothing, specialist sub-contractors (if required) and supervision. | No | 2 |  | 0
| b | Pruning of existing large trees (withing park fence), by removing dead & damaged branches and crown lifting to minimum 3 meters. | No | 10 |  | 0
0
Carried to Summary

## Landscaping 3
ITEM NO | DESCRIPTION |  | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 3
PLANTING
PLANTING (supply, deliver, plant, stake)
| a | Plants
Purchase plants at registered nurseries, transport to the site and hold in site nursery until instructed to plant by the Landscape Architect:
| i | The contractor must provide for sourcing of plant species countrywide to locally planting requirements. Plants should preferably be sourced
| ii | The landscape architect retains the right to effect any adjustments of specific species if plants are not available or are in the opinion of the landscape architect of poor quality;
| iii | The contractor must before tendering ascertain that plant species are available as specified per the programme and submit proof to this effect;
| iv | All plants must be transported to the site in trucks with closed canopies. Plants in transit may not be exposed to wind or any other harmful elements.
| v | All plants are to be viewed and approved by the Landscape Architect before planting.
| vi | The contractors attention is drawn to the special condition relating to plant procurement and plant inspection as set out under General Conditions of this document. Please read the abovementioned Items carefully prior to pricing of this section of the bill of quantities;
Payment after planting.
| vii | Plant species are to be as specified below:
| b | Planting:
| i | Refer to planting plan.
| ii | Supply all equipment and labour for planting of trees, shrubs and groundcovers and seeding.
| iii | Backfill with soil, compost and fertilizer to specification and tramp down firmly.
| iv | Remove all surplus soil.
| v | Provide all necessary stakes for trees and secure each tree firmly. Tree stakes (Two per tree): 2500mm High, 50-70 diameter treated eucalyptus support driven 500mm into the soil. Tie each tree to support with two steel wires, per stake, sleeved in a 300mm long plastic hose-pipe section.
| vi | Form pond around trees and shrubs and water well after planting.
| vii | Keep all plants moist.
| viii | Plant sizes and plant densities will be strictly enforced.
3.1 | Specimen Trees out of 200Lcontainers.
| a | Trees: 3000mm stem height and 2000mm wide crown after planting with stem diameter of 80-100mm measured 300mm above soil level.
| b | Contractor to meet the landscape architect to select trees to be used. Colour photo's of the proposed trees must also be supplied to the landscape architect.
| c | Contractor to provide three stakes, anchor wires, and ties per tree as per detail
| d | Contractor to guarantee each tree for a 12 month period.
| e | Supply, plant and maintain.
| f | Ilex mitis | ea | 8 |  | 0
| g | Harpephyllum caffrum | ea | 8 |  | 0
| i | Kigelaria africana | ea | 12 |  | 0
| i | Celtis africana | ea | 12 |  | 0
|  | Total no. for trees |  | 40
ITEM NO | DESCRIPTION |  | UNIT | QUANTITY |  | AMOUNT
3.2 | Shrubs and groundcovers
| c | Plants from seedling trays should be minimum 150 mm high and be well established and full within the containers.
| d | Supply, plant and maintain.
| e | NOTE: THAT NO PLANT SIZE SUBSTITUTIONS ARE ALLOWED
| f | Contractor to guarantee planting for a 3 month period.
| g | Supply, plant and maintain.
3.2.1 | Planting mix 01 : 10 m²
| Beetroot seedlings @ 6/m² |  | ea | 60 |  | 0
| Cabbage seedlings @ 6/m² |  | ea | 60 |  | 0
| Spinach seedlings @ 6/m² |  | ea | 60 |  | 0
| Carrot seedlings @ 12/m² |  | ea | 120 |  | 0
Planting mix 02 : 10 m²
| Onion seedlings @ 12/m² |  | ea | 120 |  | 0
Planting mix 03: 15 m²
| Pumpkin seedlings @ 3/m² |  | ea | 45 |  | 0
| Butternut seedlings @ 3/m² |  | ea | 45 |  | 0
| Celery seedlings @ 12/m² |  | ea | 180 |  | 0
| Chilli seedlings @ 6/m² |  | ea | 90 |  | 0
ITEM NO | DESCRIPTION |  | UNIT | QUANTITY |  | AMOUNT
3.3 | Lawn
Kikuyu (Pennisetum clandestinum)
Supply, deliver and plan lawn sods:
Soil preparation and scarifying included;
Inclusive of fertilizer
100% coverage is to be achieved by end of maintenance period.
| Payment per item completed: |  | m² | 3000 |  | 0
0
Carried to Summary

## Landscaping 4
ITEM NO | CODE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 4
| IRRIGATION | TO BE COMPLETED
Irrigation System:
4.1 | a. | Supply, deliver and install sleeves:
| b. | 110mm diameter PVC sleeve pipes with collars where required
| c. | Depth: 500mm below final surface
| d. | Inclusive of all digging of trenches in any material and then backfilling with suitable material and compacting I 150mm layers to 93% MOD AASHTO density
| e. | Inclusive of installing a suitable draw wire and permanent markers at either end
| f. | Payment per sleeve installed | m | 25 |  | 0
4.2 | Item Code | Item Description |  | Units | Price (Ex) | Total (Excl)
WATER CONNECTION POINT
| GN32 | NIPPLE BARREL GALV 32MM |  | 2 |  | 0
| H-GV32 | VALVE GATE BRASS 32MM |  | 1 |  | 0
| CPRV-11/4 | 32MM BSP P.R.VALVE |  | 1 |  | 0
| PROD | 430MM X 300MM VALVE BOX GALV |  | 1 |  | 0
MAINLINE MATERIALS
| CMA50X11/4 | SAB 50X11/4in COMP MALE ADAPTOR |  | 1 |  | 0
| CT50 | SAB 50MM COMPRESSION TEE |  | 1 |  | 0
| HD050PN08 | 50MM PN08 HDPE PIPE SANS PE100 |  | 700 |  | 0
| CE50 | SAB 50MM COMP ELBOW |  | 7 |  | 0
| CC50 | SAB 50MM COMP COUPLING |  | 2 |  | 0
TURF VALVE MATERIALS
| HPS50X1 | SAB 50X1 HIGH PRESSURE SADDLE |  | 4 |  | 0
| CMA50X1 | SAB 50X1in COMP MALE ADAPTER |  | 2 |  | 0
| MBP813 | EMJAY PP FEMALE ELBOW 1" (25MM) BSP |  | 2 |  | 0
| MBP756 | EMJAY PP MALE/FEMALE ELBOW 1" (25MM) BSP |  | 22 |  | 0
| PR25X0.30 | 25MM X 0.30M GREEN PVC RISER |  | 6 |  | 0
| H-V202100 | 1" PVC BALL VALVE COMPACT BSP THR |  | 6 |  | 0
| PROD | 430MM X 300MM VALVE BOX GALV |  | 6 |  | 0
| AQ71PM | AQUA 25 PLASTIC TURF VALVE |  | 6 |  | 0
| AQ70PMK | AQUA PLASTIC TURF VALVE KEY |  | 1 |  | 0
| MB734 | EMJAY COMB. FEMALE ELBOW 20MM X 3/4" |  | 1 |  | 0
| HC20C6 | CLAMP HOSE CLASS 6 20MM (2027) |  | 2 |  | 0
| DL20X30 | 20MM X 30M DRAGLINE M-DUTY BLACK |  | 1 |  | 0
| SB225 | 3/4in SNAP ON HOSE CONNECTOR |  | 1 |  | 0
| SB500 | SNAP ON SPRAY NOZZLE |  | 1 |  | 0
| DS20X.6 | 20MM X .6M DRAGLINE STAND |  | 1 |  | 0
| SB225 | 3/4in SNAP ON HOSE CONNECTOR |  | 1 |  | 0
| SB500 | SNAP ON SPRAY NOZZLE |  | 1 |  | 0
| DS20X.6 | 20MM X .6M DRAGLINE STAND |  | 1 |  | 0
| DS20X.6 | 20MM X .6M DRAGLINE STAND |  | 1 |  | 0
| SB225 | 3/4in SNAP ON HOSE CONNECTOR |  | 1 |  | 0
| SB500 | SNAP ON SPRAY NOZZLE |  | 1 |  | 0
| DS20X.6 | 20MM X .6M DRAGLINE STAND |  | 1 |  | 0
| AQ20PC-4.36X2.38 | AQUA 20MM BRASS SPRINKLER PC 3/4 4.36X2.38 |  | 1 |  | 0
LABOUR
| LABMAINSTD | M-LINE LAB,TRENCH, INST.&BACKFILL UP TO 500MM DEEP |  | 300 |  | 0
|  | CONTINGENCIES |  |  |  | 0
| MISC WCP FITT | CONN. TO EXIST. MAINS,PTFE,HEMP,ADD. FITTINGS ETC. |  | 1 |  | 0
| MISC PIPE FITT | DANGERTAPE,IT,ADD PIPE FITTING-COUPLING,ELBOWS ETC |  | 1 |  | 0
| MISC TV FITT | PTFE, STABALISING RODS, HOSE REP COUPLINGS ETC |  | 6 |  | 0
FEES
| DESIGN | AS-BUILT AND DOCUMENTATION FEE |  | 1 |  | 0
|  |  | Carried to Summary |  | Total: | 0

## Landscaping 5
ITEM NO | DESCRIPTION |  | UNIT | QUANTITY | RATE | AMOUNT
BILL NO. 5
MAINTENANCE
5.1 | AFTER COMPLETION MAINTENANCE
| a | Allow for the complete maintenance and establishment of all planted areas, inclusive of:
| b | Application of fertilizers, etc. upon instruction, replacement of plants, all according to the specifications and as may be instructed by the Landscape Architect.
| c | Provision of water car for watering of trees, planting and lawn if needed.
| d | The maintenance period will commence upon issue of the Certificate of Practical Completion
| e | Rate to be all inclusive
| f | Provision for 12 month landscape maintenance on trees (20 no.) and planting (4500m²) | Months | 12 |  | 0
5.2 |  | Replacements & repairs to vandalised irrigation equipment | Unit |  | RATE ONLY
5.2.1 |  | NIPPLE BARREL GALV 50MM | each
5.2.2 |  | VALVE GATE BRASS 50MM | each
5.2.3 |  | 50MM BSP P.R.VALVE | each
5.2.4 |  | 430MM X 300MM RECT GALVANISED STEEL LOCKABLE VALVE BOX | each
5.2.5 |  | SAB 50X2in COMP MALE ADAPTOR | each
5.2.6 |  | SAB 50MM COMPRESSION TEE | each
5.2.7 |  | 50MM PN08 HDPE PIPE SANS PE100 | m
5.2.8 |  | SAB 50MM COMP COUPLING | each
5.2.9 |  | SAB 50MM COMP ELBOW | each
5.2.10 |  | SAB 50MM COMPRESSION TEE | each
5.2.11 |  | SAB 50X1 HIGH PRESSURE SADDLE | each
5.2.12 |  | EMJAY PP MALE/FEMALE ELBOW 1" (25MM) BSP | each
5.2.13 |  | FULL/PART CIRCLE IMPACT SPRINKLER | each
5.2.14 |  | 600MM HIGH GALVANISED TRIPOD FOR SPRINKLERS | each
5.2.15 |  | PVC BALL VALVE COMPACT BSP THR 1 | each
5.2.16 |  | 250MM RECT GALVANAISED STEEL LOCKABLE VALVE BOX | each
5.2.17 |  | AQUA 25 PLASTIC TURF VALVE | each
5.2.18 |  | AQUA PLASTIC TURF VALVE KEY | each
5.2.19 |  | EMJAY COMB. FEMALE ELBOW 20MM X 3/4" | each
5.2.20 |  | CLAMP HOSE CLASS 6 20MM (2027) | each
5.2.21 |  | 20MM X 25M DRAGLINE M-DUTY BLACK | each
5.2.22 |  | 3/4in SNAP ON HOSE CONNECTOR | each
5.2.23 |  | SNAP ON SPRAY NOZZLE | each
5.2.24 |  | SAB 50X1 HIGH PRESSURE SADDLE | each
5.2.25 |  | EMJAY PP MALE/FEMALE ELBOW 1" (25MM) BSP | each
5.3 |  | Replacement plants | Unit |  | RATE ONLY
|  | Supply & plant trees - 200l, 2.5m high of locally available species | each
|  | Supply and plant groundcovers - 2l of locally available species | each
|  | Supply and plant instant lawn - Kikuyu | m²
|  | Prune up mature trees against buildings | each
|  | Cutting of in-situ sods for replanting elsewhere on site | m²
0
Carried to Summary

## Landscaping 6
SOFT LANDSCAPE SUMMARY
Bill No. |  | Page No. | Amount
1 | Miscellaneous Items |  | 0
2 | Earthworks and Soil Preparation |  | 0
3 | Planting |  | 0
4 | Irrigation |  | 0
5 | Maintenance |  | 0
0
Carried to Final Summary