## Section A - P&Gs
Rate=G | JDA C/N001
SECTION A - PRELIMINARY AND GENERAL
| Section | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 1200
159 | 12.00 |  | GENERAL REQUIREMENTS AND PROVISIONS
2765 | B12.01 |  | Excavation for the exposing of, or searching of services:
2766 |  |  | (a) 0m up to and incuding 1m
2767 |  | LI | (i) Soft material | m³ | 1000 |  | 0
2770 | B12.02 |  | Relocation and protection of existing services:
3610 |  |  | (a) Existing services to be relocated and or protected during construction | Prov sum | 1 | 5000000 | 5000000
2772 |  |  | (b) Handling cost and profit in respect of sub item B12,02 (a) above | % | 5000000 |  | 0
1759 | B12.03 |  | Construction of Survey Beacons
1760 |  |  | (a) Provisional Sum for new survey beacons to be constructed or for existing survey beacons to be protected during construction | Prov sum | 1 | 20000 | 20000
1761 |  |  | (b) Handling cost and profit in respect of sub item B12,03 (a) above | % | 20000 |  | 0
2810 | B12.04 |  | Health and Safety
2812 |  |  | (a) Fixed obligations for the preparation of risk assessments, safe work procedures, the project H & S file, the H & S plan and any other H & S matters that the contractor deems necessary, | L/sum | 1 |  | 0
2814 |  |  | (b) Fixed obligations for completing and checking the Project H & S file and handing over to the Client on completion of the works, | L/sum | 1 |  | 0
2816 |  |  | (c) Time related obligations for updating and amending the risk assessments, safe work procedures, the project H & S file, the H & S plan and full compliance with all H & S matters during the construction of the works under the contract, | month | 12 |  | 0
|  |  | Community Liason Officer (CLO) (Items included are remuneration, accredited EPWP training courses for selected labour, site office consumables and personal protective equipment.) | month | 12 |  | 0
Training
|  |  | (a) Technical skills | Prov sum | 1 | 300000 | 300000
|  |  | (c)Remuneration of workers undergoing training including wages | Prov sum | 1 | 80000 | 80000
|  |  | (d) Contractor's charge to allow for handling costs and profit in respect to sub item B12.04 (a) & ( c) | % | 380000 |  | 0
|  |  | (h)Training of Emerging Contractors | Prov Sum | 1 | 175000 | 175000
|  |  | (i) Contractor's charge to allow for handling costs and profit in (h) | % | 175000 |  | 0
| Total Carried Forward | [5 empty] | 5575000
101
JDA C/N001
SECTION A - PRELIMINARY AND GENERAL
| Section | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  |  | SECTION 1200 |  |  |  | 5575000
198 | 12.00 |  | GENERAL REQUIREMENTS AND PROVISIONS
199 |  |  | Scope of Works Reserved for SMMEs Development
Manholes, Kerbing, Paving, Edge Beams, Guard Rails
200
| B12.09 |  | Administration of Local Emerging Contractors | Prov Sum | 1 | 125000 | 125000
201
|  |  | (a) Contractor's handling costs and other charges | % | 125000 |  | 0
202
| B12/1500 |  | Accommodation of Traffic | Prov. Sum | 1 | 3050000 | 3050000
|  |  | SMMEs Preliminary & Generals | % | 3050000 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/15.00 | % | 3050000 |  | 0
| B12/1600 |  | Overhaul | Prov. Sum | 1 | 277500 | 277500
|  |  | SMMEs Preliminary & Generals | % | 277500 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/16.00 | % | 277500 |  | 0
| B12/2300 |  | Concrete Kerbing, Concrete Channeling, Chutes and Downpipes and Concrete linings for open drains | Prov. Sum | 1 | 2250000 | 2250000
|  |  | SMMEs Preliminary & Generals | % | 2250000 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/23.00 | % | 2250000 |  | 0
| B12/3300 |  | Mass Earthworks | Prov. Sum | 1 | 42000 | 42000
|  |  | SMMEs Preliminary & Generals | % | 42000 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/33.00 | % | 42000 |  | 0
| B12/5600 |  | Road Signs | Prov. Sum | 1 | 62500 | 62500
|  |  | SMMEs Preliminary & Generals | % | 62500 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/56.00 | % | 62500 |  | 0
| B12/5700 |  | Road Markings | Prov. Sum | 1 | 3950000 | 3950000
|  |  | SMMEs Preliminary & Generals | % | 3950000 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/57.00 | % | 3950000 |  | 0
| C12/1700 |  | Clearing and Grubbing | Prov. Sum | 1 | 855000 | 855000
|  |  | SMMEs Preliminary & Generals | % | 855000 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/17.00 | % | 855000 |  | 0
| C12/2100 |  | Drains | Prov. Sum | 1 | 687500 | 687500
|  |  | SMMEs Preliminary & Generals | % | 687500 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/21.00 | % | 687500 |  | 0
| C12/2200 |  | Prefabricated Culverts | Prov. Sum | 1 | 2550000 | 2550000
|  |  | SMMEs Preliminary & Generals | % | 2550000 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/22.00 | % | 2550000 |  | 0
| Total Carried Forward | [5 empty] | 19424500
102
JDA C/N001
SECTION A - PRELIMINARY AND GENERAL
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  |  | SECTION 1200 |  |  |  | 19424500
| 12.00 |  | GENERAL REQUIREMENTS AND PROVISIONS
| C12/2300 |  | Concrete kerbing, Concrete Channelling, Chutes and Downpipes, and Concrete Linings for Open Drains | Prov. Sum | 1 | 628500 | 628500
|  |  | SMMEs Preliminary & Generals | % | 628500 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/23.00 | % | 628500 |  | 0
| C12/5600 |  | Roadsign | Prov. Sum | 1 | 175000 | 175000
|  |  | SMMEs Preliminary & Generals | % | 175000 |  | 0
|  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/56.00 | % | 175000 |  | 0
| C12/5700 |  | Road Marking | Prov. Sum | 1 | 290000 | 290000
|  |  | SMMEs Preliminary & Generals | % | 290000 |  | 0
205 |  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/57.00 | % | 290000 |  | 0
216 | C12/5800 |  | Landscaping and Planting Plants | Prov. Sum | 1 | 1435000 | 1435000
|  |  | SMMEs Preliminary & Generals | % | 1435000 |  | 0
217 |  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/58.00 | % | 1435000 |  | 0
218 | C12/7300 |  | Concrete Block Paving for Roads | Prov. Sum | 1 | 1365000 | 1365000
|  |  | SMMEs Preliminary & Generals | % | 1365000 |  | 0
219 |  |  | Contractor's handling costs and other charges in respect to Development of SMMEs item B12/56.00 | % | 1365000 |  | 0
220
221
222
223
224
233
235
238
239
240
1774
1775
| Total Carried Forward To Summary | [5 empty] | 23318000
103
JDA C/N001
SECTION A - PRELIMINARY AND GENERAL
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 1300
| 13.00 |  | CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS
| 13.01 |  | Contractor's general obligations
|  |  | (a) Fixed obligations | L/sum | 1 |  | 0
|  |  | (b) Value-related obligations | L/sum | 1 |  | 0
|  |  | (c) Time-related obligations | month | 12 |  | 0
| Total Carried Forward To Summary | [5 empty] | 0
104
JDA C/N001
SECTION A - PRELIMINARY AND GENERAL
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 1400
| 14 |  | HOUSING, OFFICES AND LABORATORY FOR THE ENGINEER'S SITE PERSONNEL
| B14.01 |  | Office and laboratory accommodation
|  |  | (a) Offices (interior floor space only) | m² | 15 |  | 0
|  |  | (e) Ablution units | No | 2 |  | 0
| 14.02 |  | Office and laboratory furniture
|  |  | (a) Chairs | No | 6 |  | 0
|  |  | (d) Desks, complete with drawers and locks | No | 3 |  | 0
|  |  | (e) Drawing tables | No | 1 |  | 0
|  |  | (f) Conference tables | No | 1 |  | 0
| B14.03 |  | Office and laboratory fittings Installations and equipment
(a) Items measured by number
|  |  | (i) 220/250 volt power points | No | 3 |  | 0
|  |  | (ii) 400/231 volt 3-phase power points | No | 1 |  | 0
|  |  | (iii) Double 80 watt fluorescent light fittings complete with ballast and tubes | No | 2 |  | 0
|  |  | (iv) Double 55 watt fluorescent light fittings complete with ballast and tubes | No | 1 |  | 0
|  |  | (v) Single incandescent light fittings complete with 100 watt globes | No | 1 |  | 0
|  |  | (vi) Air conditioning units with 2,2 kW minimum capacity, mounted and with own power connection | No | 1 |  | 0
|  |  | (vii) Provision of telephone service, including the cost of calls in connection with contract administration and telephone rental | PC sum | 1 | 25000 | 25000
|  |  | Contractor's handling costs and other charges in respect to above item B14.03(vii) | % | 25000 |  | 0
|  |  | (viii) Notice boards as specified | m² | 5 |  | 0
| Total Carried Forward To Summary | [5 empty] | 25000
105
JDA C/N001
SECTION A - PRELIMINARY AND GENERAL
| Section |  | Description |  |  |  | Amount R
SUMMARY OF SECTIONS
| 1200 |  | GENERAL REQUIREMENTS AND PROVISIONS |  |  |  | 23318000
| 1300 |  | CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS |  |  |  | 0
| 1400 |  | HOUSING, OFFICES AND LABORATORY FOR THE ENGINEER'S SITE PERSONNEL |  |  |  | 25000
|  |  | SUBTOTAL |  |  |  | 23343000
|  |  | TOTAL CARRIED OVER TO SECTION E |  |  |  | 23343000
Note on A1: Item¦LIC¦Description¦Unit¦Qty¦Rate¦Amount§1¦Contract No. BMK 1598/2019§1¦Schedule 1§GENERAL REQUIREMENTS AND PROVISIONS¦CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS¦HOUSING, OFFICES AND LABORATORY FOR THE ENGINEER'S SITE PERSONNEL¦ACCOMODATION OF TRAFFIC¦OVERHAUL¦CLEARING AND GRUBBING¦DAYWORKS¦DRAINS¦PREFABRICATED CULVERTS¦CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS¦SELECTION, STOCKPILING AND BREAKING DOWN THE MATERIAL FROM BORROW PITS, CUTTINGS AND EXISTING PAVEMENT LAYERS, AND PLACING AND COMPACTING OF THE GRAVEL LAYERS¦MASS EARTHWORKS¦PAVEMENT LAYERS OF GRAVEL MATERIAL¦CRUSHED STONE BASE ¦PRIME COAT¦ASPHALT BASE AND SURFACING¦PITCHING, STONEWORK AND PROTECTION AGAINST EROSION¦GABIONS¦ROAD SIGNS¦ROAD MARKINGS¦LANDSCAPING AND PLANTING PLANTS¦FINISHING THE ROAD AND ROAD RESERVE AND TREATING OLD ROADS¦TESTING MATERIALS AND WORKMANSHIP
Note on A6: ¦1¦1¦1¦1¦1¦Null§
Note on A8: ¦1¦1¦1¦2¦1¦Null§
Note on A10: ¦1¦1¦1¦3¦1¦Null§
Note on A12: ¦1¦1¦1¦4¦1¦Null§
Note on A14: ¦1¦1¦1¦5¦1¦Null§
Note on A16: ¦1¦1¦1¦6¦1¦Null§
Note on A18: ¦1¦1¦1¦7¦1¦Null§PercPrevItem
Note on A20: ¦1¦1¦1¦8¦1¦Null§
Note on A22: ¦1¦1¦1¦9¦1¦Null§
Note on A24: ¦1¦1¦1¦10¦1¦Null§PercPrevItem
Note on A26: ¦1¦1¦1¦11¦1¦Null§
Note on A28: ¦1¦1¦1¦12¦1¦Null§
Note on A30: ¦1¦1¦1¦13¦1¦Null§
Note on A32: ¦1¦1¦1¦14¦1¦Null§
Note on A59: ¦1¦1¦2¦1¦1¦Null§SubSection
Note on A61: ¦1¦1¦2¦2¦1¦Null§
Note on A63: ¦1¦1¦2¦3¦1¦Null§
Note on A65: ¦1¦1¦2¦4¦1¦Null§
Note on A67: ¦1¦1¦2¦5¦1¦Null§
Note on A130: ¦1¦1¦3¦3¦1¦Null§
Note on A132: ¦1¦1¦3¦8¦1¦Null§
Note on A134: ¦1¦1¦3¦9¦1¦Null§
Note on A136: ¦1¦1¦3¦10¦1¦Null§
Note on A138: ¦1¦1¦3¦11¦1¦Null§
Note on A140: ¦1¦1¦3¦12¦1¦Null§
Note on A142: ¦1¦1¦3¦13¦1¦Null§
Note on A144: ¦1¦1¦3¦14¦1¦Null§
Note on A150: ¦1¦1¦3¦15¦1¦Null§
Note on A152: ¦1¦1¦3¦16¦1¦Null§
Note on A155: ¦1¦1¦3¦19¦1¦Null§
Note on A157: ¦1¦1¦3¦20¦1¦Null§
Note on A159: ¦1¦1¦3¦21¦1¦Null§
Note on A161: ¦1¦1¦3¦22¦1¦Null§
Note on A163: ¦1¦1¦3¦23¦1¦Null§PercPrevItem
Note on A165: ¦1¦1¦3¦24¦1¦Null§
Note on A175: ¦1¦1¦3¦25¦1¦Null§

## Section B - Katherine St
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 1500
| 15.00 |  | ACCOMMODATION OF TRAFFIC
| B15.01 |  | Accommodating traffic and maintaining temporary deviations, detours, barricades, signs and traffic safety officers. | Month | 12 |  | 0
| B15.03 | LI | Temporary traffic-control facilities
327
|  | LI | (a) Flagmen/ Traffic Controllers | man-day | 2800 |  | 0
329
|  | LI | (b) Portable STOP and GO-RY signs | No | 12 |  | 0
(c) Barriers
|  |  | (1) Plastic Barrier Jersey ( 2000x1000) | No | 550 |  | 0
(d) Delineators (DTG50J) (size indicated):
|  | LI | (1) Single | No | 100 |  | 0
|  | LI | (j) Traffic cones (size indicated) 700mm | No | 100 |  | 0
| 15.08 |  | Repairs, alterations and/or additions to existing roads used as temporary deviations | Prov sum | 1 | 100000 | 100000
|  |  | (a) Handling cost and profit in respect of sub item B15.08 above | % | 100000 |  | 0
| Total | [5 empty] | 100000
201
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 1600
| 16.00 |  | OVERHAUL
| B16.02 |  | (b) Overhaul on material hauled in excess of 1,0 km (ordinary overhaul) | m³-km | 3700 |  | 0
330
331
332
333
2879
2880
2881
| Total | [5 empty] | 0
202
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 1800
| 18.00 |  | DAYWORKS
| B18.01 |  | Personnel during normal working hours:
|  |  | (i) Unskilled labour | hr | 3136 |  | 0
|  |  | (ii) Semi-skilled labour | hr | 1568 |  | 0
|  |  | (iii) Skilled labour | hr | 1568 |  | 0
|  |  | (iv) Ganger | hr | 1568 |  | 0
2261
| B18.02 |  | Personnel outside normal working hours:
2264
(a) Outside normal working hours and Saturdays:
2265
|  |  | (i) Unskilled labour | hr | 4864 |  | 0
2266 |  |  | (ii) Semi-skilled labour | hr | 1568 |  | 0
2267 |  |  | (iii) Skilled labour | hr | 1568 |  | 0
2268 |  |  | (iv) Ganger | hr | 1568 |  | 0
2271 |  |  | (b) Sundays and Public Holidays:
2775 |  |  | (i) Unskilled labour | hr | 4864 |  | 0
2776 |  |  | (ii) Semi-skilled labour | hr | 1568 |  | 0
2777 |  |  | (iii) Skilled labour | hr | 1568 |  | 0
2778 |  |  | (iv) Ganger | hr | 1568 |  | 0
2780 | B18.03 |  | Plant and Equipment:
2781 |  |  | (i) Tracked Excavator (18-22 ton) | hr | 288 |  | 0
|  |  | (ii) Front end loader minimum power 90kW | hr | 288 |  | 0
2785
|  |  | (iii) Backhoe loader (TLB) (7-8 ton) | hr | 288 |  | 0
2786
|  |  | (iv) Grader (CAT 140G or equivalent) | hr | 288 |  | 0
2789
|  |  | (v) Compressor plus two jackhammers and two paving breakers, including hoses and tools (7 m³/minute mass approximately 150 cpm) | hr | 288 |  | 0
2790
|  |  | (vi) Vibratory roller (10-14 ton, single drum, smooth) | hr | 288 |  | 0
|  |  | (vii) Static roller (11-13 ton) | hr | 288 |  | 0
|  |  | (viii) Pedestrian Roller (800-900 kg, 630 mm wide drum) | hr | 288 |  | 0
|  |  | (ix) Small compaction equipment (plate vibrator) | hr | 288 |  | 0
|  |  | (x) Pneumatic tyre roller (27 ton) | hr | 288 |  | 0
|  |  | (xi) Tipper Truck (10 m³) | hr | 288 |  | 0
|  |  | (xii) Water tanker (10 000 litre) | hr | 288 |  | 0
|  |  | (xiii) Concrete mixer (capacity 350 litre) | hr | 288 |  | 0
| Total Carried Forward | [5 empty] | 0
203
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  |  | SECTION 1800 |  |  |  | 0
| 18.00 |  | DAYWORKS
| B18.03 |  | (xiv) Generator (5 kVA) | hr | 288 |  | 0
|  |  | (xv) Low bed (30-40 ton) | hr | 288 |  | 0
| B18.04 |  | Materials:
|  |  | (a) Procurement of materials | L/Sum | 1 | 100000 | 100000
348
|  |  | (b) Contractor's handling costs, profit and all other charges in respect of sub-item B18.04(a) above | % | 100000 |  | 0
2799
| B18.05 |  | Transport:
2800
|  |  | (a) LDV | km | 5000 |  | 0
2801
|  |  | (b) Flatbed truck (including mobile crane with 5 ton capacity) | km | 5000 |  | 0
356
|  |  | (c) Lowbed horse and trailer | km | 5000 |  | 0
357
358
364
368
371
376
380
386
387
402
403
412
413
417
| Total Carried Forward To Summary | [5 empty] | 100000
204
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 2100
| 21.00 |  | DRAINS
| 21.03 |  | Excavation for subsoil drainage systems:
2889 |  | LI | "(a) Excavating soft material situated within the following depth ranges below the surface level:"
2890 |  | LI | (i) 0 m up to 1,5 m | m³ | 1000 |  | 0
2891 |  | LI | (ii) 1.5 m up to 3,0 m | m³ | 500 |  | 0
2892 |  |  | "(b) Extra over subitem 21.03(a) for excavation in hard material, irrespective of depth" | m³ | 250 |  | 0
2896 | 21.04 |  | Impermeable backfilling to subsoil drainage systems
2897 |  |  | a) Selected fill material from excavations in pipe tenches | m³ | 500 |  | 0
3604 | 21.06 | LI | Natural permeable material in subsoil drainage systems (crushed stone)
2952 |  | LI | (b) Crushed stone obtained from commercial sources (19mm average diameter) | m³ | 600 |  | 0
2906 | 21.07 |  | Natural permeable material in subsoil drainage systems (sand)
3605 |  |  | (b) Sand from commercial sources (G7 material) | m³ | 500 |  | 0
2909 | 21.08 |  | Pipes in subsoil drainage systems
3038 |  |  | (c) Perforated Class 25 160mm diameter high density type poly-ethylene pressure (HDPE) pipes and fittings, complete with couplings, end caps, etc., complete | m | 750 |  | 0
3046 | 21.09 |  | Polyethylene sheeting, 0.15mm thick, or similar approved material, for lining subsoil drainage systems | m² | 3000 |  | 0
3049 | 21.1 |  | Synthetic-fibre filter fabric
3057 |  |  | a) Geofabric filter blanket wrapped around stone encasing with 150mm side and 300mm end laps including stitching. | m² | 3000 |  | 0
3606 | 21.17 |  | Test flushing of pipe subsoil drains | No | 12 |  | 0
2949 | B21.18 |  | Excavation for the clearing of existing drainage systems
2950 |  |  | (a) Manholes and inlet and outlet structures | m³ | 15 |  | 0
3608 |  |  | Removal of sand, silt, roots, etc. (all causes) using high pressure water jetting equipment at +450Bar pressure for pipe diameter
3609 |  |  | (i) 450mm dia pipe (Class 100D) | m | 650 |  | 0
|  |  | (ii) 500mm dia pipe (Class 100D) | m | 600 |  | 0
|  |  | (iii) 600mm dia pipe (class 100D) | m | 1800 |  | 0
|  |  | (iv) 825mm dia (Class 100D) | m | 700 |  | 0
|  |  | (v) 1200 mm dia. (Class 100D) | m | 600 |  | 0
|  |  | (v) 1200 mm dia. (Class 100D) | m | 600 |  | 0
| Total Carried Forward To Summary | [5 empty] | 0
205
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 2300
| 22.00 | LI | PREFABRICATED CULVERTS
Provision for the maintenance/ rehabilitation/ replacement of existing stormwater controls
| 22.17 |  | Manholes,catchpits,precast inlet and outlet structures complete
(a) Manholes
(1) Brick manholes complete as per typical detail JRA-SD-SWM-004
2087
|  |  | (i) 1.0m to 1.5m deep | No | 15 |  | 0
2825
|  |  | (ii) 1.5m to 2.0m deep | No | 12 |  | 0
2826
|  |  | (iii) 2.0m to 3m deep | No | 6 |  | 0
2217
|  |  | (iv) 3.0m to 4.5m deep | No | 6 |  | 0
2218
(b) Catch pits and Kerb Inlets
2837
(2) complete as per typical detail JRA-SD-SWM-001
2223
|  |  | (i) 1.0m to 1.5m deep | No | 20 |  | 0
2828
|  |  | (ii) 1.5, to 3.0m deep | No | 5 |  | 0
2829
|  |  | (iii) 3.0m to 4.5m deep | No | 5 |  | 0
2831
CCTV conditional assessment of existing stormwater Lines
2832
|  |  | (i) 450mm dia pipe (Class 100D) | m | 650 |  | 0
2834
|  |  | (ii) 500mm dia pipe (Class 100D) | m | 600 |  | 0
2835
|  |  | (iii) 600mm dia pipe (class 100D) | m | 1800 |  | 0
|  |  | (iv) 825mm dia (Class 100D) | m | 700 |  | 0
|  |  | (v) 1200 mm dia. (Class 100D) | m | 600 |  | 0
Removal of sand, silt, roots, etc. (all causes) using high pressure water jetting equipment at +450Bar pressure for pipe diameter
|  |  | (i) 450mm dia pipe (Class 100D) | m | 650 |  | 0
|  |  | (ii) 500mm dia pipe (Class 100D) | m | 600 |  | 0
|  |  | (iii) 600mm dia pipe (class 100D) | m | 1800 |  | 0
|  |  | (iv) 825mm dia (Class 100D) | m | 700 |  | 0
|  |  | (v) 1200 mm dia. (Class 100D) | m | 600 |  | 0
|  |  | (v) 1200 mm dia. (Class 100D) | m | 600 |  | 0
| Total Carried Forward To Summary | [5 empty] | 0
206
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 2300
| 23.00 | LI | CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS
| B23.02 |  | Concrete kerbing-channelling combination
|  |  | a) Fig 7 kerb-channel combination (rate includes the demolision and removal of existing kerbs) | m | 5000 |  | 0
3554
3564
| Total | [5 empty] | 0
207
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3300
| 32.00 |  | SELECTION, STOCKPILING AND BREAKING DOWN THE MATERIAL FROM BORROW PITS, CUTTINGS AND EXISTING PAVEMENT LAYERS, AND PLACING AND COMPACTING THE GRAVEL LAYERS
| 32.06 |  | Stockpiling of milled material material( bulking factor included)
(d)Milled Material
|  |  | (i)Material stock pilled within 2km radius of site | m³ | 3700 |  | 0
|  |  | (ii)Material stock pilled in excess of 2km radius of site | m³ | 3700 |  | 0
928
929
930
2882
932
936
937
938
941
942
943
920
947
951
952
953
959
961
964
965
974
| Total Carried Forward To Summary | [5 empty] | 0
208
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
993 |  |  | SECTION 3300
| 33.00 |  | MASS EARTHWORKS
2883
| 33.10 |  | Roadbed preparation and the compaction of material
2884
|  |  | (b) Compaction to 93% of modified AASHTO density | m³ | 700 |  | 0
2885
2886
2887
| Total | [5 empty] | 0
209
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3400
| 34.00 |  | PAVEMENT LAYERS OF GRAVEL MATERIAL
1211
| 34.03 |  | Pavement layers constructed from gravel obtained from commercial sources including unlimited free haul
1212
(f) Gravel subbase (chemically stabilized material) compacted to 95% of modified AASHTO density, using:
1185
|  |  | (2) Cemented material (Lower Subbase 200mm thickness) | m³ | 1000 |  | 0
1186
|  |  | (3) Cemented material (Upper Subbase 200mm thickness) | m³ | 1000 |  | 0
| Total Carried Forward To Summary | [5 empty] | 0
210
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3500
| 35.00 |  | STABILIZATION
| 35.01 |  | Chemical stabilization (200mm) extra over unstabilized compacted layers (3% Cement)
(b) Sub Base
|  |  | (iii) 200mm thickness | m³ | 3000 |  | 0
| 35.02 |  | Chemical stabilizing agent:
1273 |  |  | (a) Ordinary portland cement | t | 250 |  | 0
| 35.04 |  | Provision and application of water for curing | kl | 2625 |  | 0
| Total Carried Forward To Summary | [5 empty] | 0
211
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
1281 | Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3800
1282 | 38.00 |  | BREAKING UP EXISTING PAVEMENT LAYERS
1283 | 38.02 |  | Milling out existing bituminous material with an average milling depth:
1284 |  |  | (a) Not exceeding 30 mm | m³ | 7600 |  | 0
1285 |  |  | (b) Exceeding 60mm | m³ | 2800 |  | 0
| 38.03 |  | Milling out cemented material including stockpiling:
| B38.04 |  | Excavating and spoiling material from an existing pavement and/or the underlying fill:
|  |  | (c) Cemented Crushed Stone | m³ | 700 |  | 0
|  |  | (d) Bituminous material (RAP) | m³ | 10400 |  | 0
| 38.10 |  | Preparing stockpile sites | m³ | 4160 |  | 0
| Total Carried Forward To Summary | [5 empty] | 0
212
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3900
1451 | 39.00 |  | PATCHING AND REPAIRING EDGE BREAKS
1427 | 39.02 |  | Excavation in existing pavements for patching in :
1431 |  |  | (a) Asphalt layers
|  |  | (2) Exceeding 5 m² but not exceeding 100 m² | t | 100 |  | 0
| Total Carried Forward To Summary | [5 empty] | 0
213
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 4100
| 41.00 | LI | PRIME COAT
2840 | 41.01 |  | Prime Coat
2857 |  |  | (c) MC-30 Cut Back Bitumen | l | 3388 |  | 0
2859
2861
2871
2872
2849
2873
2874
| Total Carried Forward To Summary | [5 empty] | 0
214
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 4200
| 42.00 |  | ASPHALT BASE AND SURFACING
| 42.04 |  | Tack coat of 30% stable-grade emulsion | litre | 21000 |  | 0
| 42.11 |  | Asphalt layer constructed for rehabilitation purposes in accordance with the provisions of subsubclauses 4213(f)(ii) or 4213(f)(iii):
(a) Base constructed with new asphalt (using SE-1 with a maximum stone size of 20mm)
|  |  | (i) Continuously graded, 80mm thick | t | 2000 |  | 0
(b) Surfacing or overlay constructed with new asphalt (AP-1 maximum stone size 14mm)
1541 |  |  | (i) Continuously graded, 30mm thick | t | 1950 |  | 0
1542 | 42.17 |  | Asphalt reinforcing - complete (PVA GRID 25mm x 25mm) | m² | 37000 |  | 0
1514
1515
1563
1566
1567
1568
1572
| Total Carried Forward To Summary | [5 empty] | 0
215
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 5600
| 56.00 |  | ROAD SIGNS
| B56.01 |  | Road sign boards with painted or coloured semi-matt background, Symbols, lettering and borders in semi-matt black or in Class I retroreflective material, where the sign board is constructed from
(c) Prepainted galvanized steel plate (chromadek 1,6 mm thick or approved equivalent):
(1) Regulatory - Control signs
|  |  | (i) R2 | No | 9 |  | 0
|  |  | (ii) R2.1 | No | 10 |  | 0
(2) Regulatory - Command signs
|  |  | (i) R103 | No | 12 |  | 0
(3) Regulatory - Prohibitation signs
|  |  | (i) R213 | No | 12 |  | 0
(4) Regulatory - Reservation signs
|  |  | (i) R354 | No | 8 |  | 0
|  |  | (ii) R315 | No | 1 |  | 0
(5) Warning - Hazard Marker Signs
|  |  | (i) W402 | No | 12 |  | 0
1610
1611
1612
1613
1590
1666
| Total | [5 empty] | 0
216
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 5700
| 57.00 |  | ROAD MARKINGS
| 57.01 |  | Road marking paint:
1,5 mm Thick Thermo Plastic road marking applied according to manufacturers specifications
(a) White lines (broken or unbroken)
|  | LI | (1) 100 mm wide | km | 6 |  | 0
|  | LI | (2) 150 mm wide | km | 5 |  | 0
|  | LI | (3) 200 mm wide | km | 4 |  | 0
|  | LI | (4) 300 mm wide | km | 4 |  | 0
(b)Yellow/ Red lines ( broken or unbroken )
|  | LI | (1) 100 mm wide | km | 4 |  | 0
|  | LI | (2) 150 mm wide | km | 4 |  | 0
|  | LI | (3) 200 mm wide | km | 3 |  | 0
|  | LI | (4) 300 mm wide | km | 3 |  | 0
2,5 mm Thick Thermo Plastic road marking applied according to manufacturers specifications
|  |  | (1) 100 mm wide | km | 4 |  | 0
|  |  | (2) 150 mm wide | km | 4 |  | 0
|  |  | (3) 200 mm wide | km | 2 |  | 0
|  |  | (4) 300 mm wide | km | 2 |  | 0
1698 |  |  | (d) White lettering and symbols | m² | 750 |  | 0
1671 |  |  | (e) Yellow lettering and symbols | m² | 375 |  | 0
3238 |  |  | (f) Transverse lines, painted island and arrestor bed markins (any colour) | m² | 1500 |  | 0
3237 |  |  | (g) Kerb markings (any colour) | m² | 1200 |  | 0
3236 |  |  | (h) Bus lane markings 1000mm wide (red) | km | 3 |  | 0
1678 |  |  | Direction arrows and general road marking
1682 |  |  | (a) RM5 | No | 10 |  | 0
1684 |  |  | (b) RM7.2 | No | 8 |  | 0
|  |  | (c) RM8.1 | No | 7 |  | 0
|  |  | (d) RM8.2 | No | 6 |  | 0
|  |  | (e) RM8.3 | No | 17 |  | 0
| Total Carried Forward | [5 empty] | 0
217
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  |  | SECTION 5700 |  |  |  | 0
| 57.00 |  | ROAD MARKINGS
Direction arrows and general road marking
|  |  | (f) RM8.4 | No | 4 |  | 0
|  |  | (g) RM8.5 | No | 14 |  | 0
|  |  | (h) WM5 | No | 18 |  | 0
|  |  | (i) WM7.1 | No | 9 |  | 0
|  |  | (j) WM7.2 | No | 8 |  | 0
|  |  | (k) WM7.3 | No | 16 |  | 0
|  |  | (l) WM7.4 | No | 2 |  | 0
|  |  | (m) WM7.5 | No | 13 |  | 0
|  |  | (N) WM6.4 | No | 2 |  | 0
| 57.05 |  | Road studs and Rubble blocks
|  |  | ACD - or other approved - composite rumble blocks no: A2014/00840 size 263 x 85 x 60mm high fixed to asphalt surfacing complete to manufacturers specification (4,25 blocks/m) of yellow colour | m | 2200 |  | 0
1729
1730
1732
| Total | [5 empty] | 0
218
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 5700/1
| 57.00/1 |  | TRAFFIC SIGNALLING
Provision to make allowance for Signal Design, Approval, Testing and Comissioning
|  |  | Traffic Signal Installation up to Commissioning as per JRA Approved Proposed Design | Prov Sum | 1 | 5000000 | 5000000
|  |  | (a) Handling cost and profit in respect of sub item B57.00/1 above | % | 5000000 |  | 0
| Total Carried Forward To Summary | [5 empty] | 5000000
219
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 8100
| 81.00 |  | TESTING MATERIALS AND WORKMANSHIP
| 81.02 |  | Other special tests requested by the engineer | Prov sum | 1 | 200000 | 200000
|  |  | (b) Handling cost and profit on respect of sub item 81,02 above | % | 200000 |  | 0
| Total Carried Forward To Summary | [5 empty] | 200000
220
JDA C/N001
SECTION B - REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET
| Section |  | Description |  |  |  | Amount R
SUMMARY OF SECTIONS
| 1500 |  | ACCOMODATION OF TRAFFIC |  |  |  | Included
| 1600 |  | OVERHAUL |  |  |  | Included
| 1800 |  | DAYWORKS |  |  |  | 100000
| 2100 |  | DRAINS |  |  |  | 0
| 2200 |  | PREFABRICATED CULVERTS |  |  |  | 0
| 2300 |  | CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS |  |  |  | Included
| 3200 |  | SELECTION, STOCKPILING AND BREAKING DOWN THE MATERIAL FROM BORROW PITS, CUTTINGS AND EXISTING PAVEMENT LAYERS, AND PLACING AND COMPACTING THE GRAVEL LAYERS |  |  |  | 0
| 3300 |  | MASS EARTHWORKS |  |  |  | Included
| 3400 |  | PAVEMENT LAYERS OF GRAVEL MATERIAL |  |  |  | 0
| 3500 |  | STABILIZATION |  |  |  | 0
| 3800 |  | BREAKING UP EXISTING PAVEMENT LAYERS |  |  |  | 0
| 3900 |  | PATCHING AND REPAIRING EDGE BREAKS |  |  |  | 0
| 4100 |  | PRIME COAT |  |  |  | 0
| 4200 |  | ASPHALT BASE AND SURFACING |  |  |  | 0
| 5600 |  | ROAD SIGNS |  |  |  | Included
| 5700 |  | ROAD MARKINGS |  |  |  | Included
| 5700/1 |  | TRAFFIC SIGNALS |  |  |  | 5000000
| 8100 |  | TESTING MATERIALS AND WORKMANSHIP |  |  |  | 200000
|  |  | SUBTOTAL |  |  |  | 5300000
|  |  | TOTAL CARRIED OVER TO SECTION E |  |  |  | 5300000
Note on A11: ¦1¦1¦5¦1¦1¦Null§SubSection
Note on A13: ¦1¦1¦5¦2¦1¦Null§
Note on A84: ¦1¦1¦6¦1¦1¦Null§SubSection
Note on A86: ¦1¦1¦6¦2¦1¦Null§
Note on A88: ¦1¦1¦6¦3¦1¦Null§
Note on A90: ¦1¦1¦6¦4¦1¦Null§RateOnly
Note on A92: ¦1¦1¦6¦5¦1¦Null§
Note on A94: ¦1¦1¦6¦6¦1¦Null§
Note on A96: ¦1¦1¦6¦7¦1¦Null§
Note on A158: ¦1¦1¦7¦1¦1¦Null§
Note on A160: ¦1¦1¦7¦2¦1¦Null§
Note on A162: ¦1¦1¦7¦3¦1¦Null§
Note on A165: ¦1¦1¦7¦4¦1¦Null§
Note on A167: ¦1¦1¦7¦5¦1¦Null§
Note on A169: ¦1¦1¦7¦6¦1¦Null§
Note on A171: ¦1¦1¦7¦8¦1¦Null§
Note on A173: ¦1¦1¦7¦10¦1¦Null§
Note on A175: ¦1¦1¦7¦11¦1¦Null§
Note on A177: ¦1¦1¦7¦12¦1¦Null§
Note on A179: ¦1¦1¦7¦13¦1¦Null§
Note on A181: ¦1¦1¦7¦15¦1¦Null§
Note on A183: ¦1¦1¦7¦16¦1¦Null§
Note on A186: ¦1¦1¦7¦17¦1¦Null§
Note on A188: ¦1¦1¦7¦18¦1¦Null§
Note on A190: ¦1¦1¦7¦19¦1¦Null§
Note on A192: ¦1¦1¦7¦20¦1¦Null§
Note on A225: ¦1¦1¦8¦1¦1¦Null§SubSection
Note on A227: ¦1¦1¦8¦2¦1¦Null§
Note on A229: ¦1¦1¦8¦3¦1¦Null§
Note on A231: ¦1¦1¦8¦4¦1¦Null§
Note on A233: ¦1¦1¦8¦5¦1¦Null§
Note on A235: ¦1¦1¦8¦6¦1¦Null§
Note on A237: ¦1¦1¦8¦7¦1¦Null§
Note on A240: ¦1¦1¦8¦9¦1¦Null§
Note on A242: ¦1¦1¦8¦10¦1¦Null§
Note on A244: ¦1¦1¦8¦11¦1¦Null§
Note on A246: ¦1¦1¦8¦12¦1¦Null§
Note on A248: ¦1¦1¦8¦13¦1¦Null§
Note on A250: ¦1¦1¦8¦14¦1¦Null§
Note on A252: ¦1¦1¦8¦15¦1¦Null§
Note on A254: ¦1¦1¦8¦16¦1¦Null§
Note on A256: ¦1¦1¦8¦17¦1¦Null§
Note on A258: ¦1¦1¦8¦18¦1¦Null§
Note on A270: ¦1¦1¦8¦19¦1¦Null§
Note on A272: ¦1¦1¦8¦20¦1¦Null§
Note on A286: ¦1¦1¦9¦1¦1¦Null§SubSection
Note on A288: ¦1¦1¦9¦2¦1¦Null§
Note on A290: ¦1¦1¦9¦3¦1¦Null§
Note on A292: ¦1¦1¦9¦4¦1¦Null§
Note on A294: ¦1¦1¦9¦5¦1¦Null§
Note on A295: ¦1¦1¦9¦6¦1¦Null§
Note on A297: ¦1¦1¦9¦7¦1¦Null§
Note on A299: ¦1¦1¦9¦8¦1¦Null§
Note on A301: ¦1¦1¦9¦9¦1¦Null§
Note on A303: ¦1¦1¦9¦10¦1¦Null§
Note on A305: ¦1¦1¦9¦11¦1¦Null§
Note on A307: ¦1¦1¦9¦12¦1¦Null§
Note on A308: ¦1¦1¦9¦13¦1¦Null§
Note on A309: ¦1¦1¦9¦14¦1¦Null§
Note on A311: ¦1¦1¦9¦15¦1¦Null§
Note on A313: ¦1¦1¦9¦16¦1¦Null§
Note on A315: ¦1¦1¦9¦19¦1¦Null§
Note on A316: ¦1¦1¦9¦20¦1¦Null§
Note on A318: ¦1¦1¦9¦23¦1¦Null§
Note on A320: ¦1¦1¦9¦24¦1¦Null§
Note on A349: ¦1¦1¦10¦1¦1¦Null§SubSection
Note on A351: ¦1¦1¦10¦2¦1¦Null§
Note on A353: ¦1¦1¦10¦3¦1¦Null§
Note on A355: ¦1¦1¦10¦4¦1¦Null§
Note on A357: ¦1¦1¦10¦5¦1¦Null§
Note on A359: ¦1¦1¦10¦6¦1¦Null§
Note on A361: ¦1¦1¦10¦7¦1¦Null§
Note on A363: ¦1¦1¦10¦8¦1¦Null§
Note on A365: ¦1¦1¦10¦9¦1¦Null§
Note on A367: ¦1¦1¦10¦10¦1¦Null§
Note on A369: ¦1¦1¦10¦11¦1¦Null§
Note on A371: ¦1¦1¦10¦12¦1¦Null§
Note on A373: ¦1¦1¦10¦13¦1¦Null§
Note on A417: ¦1¦1¦11¦1¦1¦Null§SubSection
Note on A419: ¦1¦1¦11¦2¦1¦Null§
Note on A488: ¦1¦1¦12¦1¦1¦Null§SubSection
Note on A490: ¦1¦1¦12¦2¦1¦Null§
Note on A492: ¦1¦1¦12¦3¦1¦Null§
Note on A494: ¦1¦1¦12¦4¦1¦Null§
Note on A496: ¦1¦1¦12¦5¦1¦Null§
Note on A498: ¦1¦1¦12¦6¦1¦Null§
Note on A500: ¦1¦1¦12¦7¦1¦Null§
Note on A502: ¦1¦1¦12¦8¦1¦Null§
Note on A504: ¦1¦1¦12¦9¦1¦Null§
Note on A506: ¦1¦1¦12¦10¦1¦Null§
Note on A508: ¦1¦1¦12¦11¦1¦Null§
Note on A510: ¦1¦1¦12¦12¦1¦Null§
Note on A512: ¦1¦1¦12¦13¦1¦Null§
Note on A514: ¦1¦1¦12¦14¦1¦Null§
Note on A516: ¦1¦1¦12¦15¦1¦Null§
Note on A518: ¦1¦1¦12¦16¦1¦Null§
Note on A520: ¦1¦1¦12¦17¦1¦Null§
Note on A522: ¦1¦1¦12¦18¦1¦Null§
Note on A524: ¦1¦1¦12¦19¦1¦Null§
Note on A526: ¦1¦1¦12¦20¦1¦Null§
Note on A528: ¦1¦1¦12¦21¦1¦Null§
Note on A543: ¦1¦1¦13¦1¦1¦Null§SubSection
Note on A545: ¦1¦1¦13¦2¦1¦Null§
Note on A547: ¦1¦1¦13¦3¦1¦Null§
Note on A549: ¦1¦1¦13¦4¦1¦Null§
Note on A551: ¦1¦1¦13¦5¦1¦Null§
Note on A553: ¦1¦1¦13¦6¦1¦Null§
Note on A616: ¦1¦1¦14¦1¦1¦Null§SubSection
Note on A618: ¦1¦1¦14¦2¦1¦Null§
Note on A620: ¦1¦1¦14¦3¦1¦Null§
Note on A622: ¦1¦1¦14¦4¦1¦Null§
Note on A693: ¦1¦1¦15¦3¦1¦Null§
Note on A752: ¦1¦1¦16¦1¦1¦Null§SubSection
Note on A754: ¦1¦1¦16¦2¦1¦Null§
Note on A756: ¦1¦1¦16¦3¦1¦Null§
Note on A758: ¦1¦1¦16¦4¦1¦Null§
Note on A760: ¦1¦1¦16¦5¦1¦Null§
Note on A822: ¦1¦1¦17¦1¦1¦Null§SubSection
Note on A824: ¦1¦1¦17¦2¦1¦Null§
Note on A826: ¦1¦1¦17¦3¦1¦Null§
Note on A898: ¦1¦1¦18¦1¦1¦Null§SubSection
Note on A900: ¦1¦1¦18¦2¦1¦Null§
Note on A902: ¦1¦1¦18¦3¦1¦Null§
Note on A904: ¦1¦1¦18¦5¦1¦Null§
Note on A906: ¦1¦1¦18¦6¦1¦Null§
Note on A908: ¦1¦1¦18¦7¦1¦Null§
Note on A910: ¦1¦1¦18¦8¦1¦Null§
Note on A912: ¦1¦1¦18¦9¦1¦Null§
Note on A914: ¦1¦1¦18¦10¦1¦Null§
Note on A967: ¦1¦1¦19¦1¦1¦Null§SubSection
Note on A969: ¦1¦1¦19¦2¦1¦Null§
Note on A971: ¦1¦1¦19¦3¦1¦Null§
Note on A973: ¦1¦1¦19¦4¦1¦Null§
Note on A975: ¦1¦1¦19¦5¦1¦Null§
Note on A977: ¦1¦1¦19¦6¦1¦Null§
Note on A979: ¦1¦1¦19¦7¦1¦Null§
Note on A981: ¦1¦1¦19¦8¦1¦Null§
Note on A983: ¦1¦1¦19¦9¦1¦Null§
Note on A1041: ¦1¦1¦20¦1¦1¦Null§SubSection
Note on A1043: ¦1¦1¦20¦2¦1¦Null§
Note on A1045: ¦1¦1¦20¦3¦1¦Null§
Note on A1047: ¦1¦1¦20¦4¦1¦Null§
Note on A1049: ¦1¦1¦20¦5¦1¦Null§
Note on A1051: ¦1¦1¦20¦6¦1¦Null§
Note on A1113: ¦1¦1¦21¦1¦1¦Null§SubSection
Note on A1115: ¦1¦1¦21¦2¦1¦Null§
Note on A1117: ¦1¦1¦21¦3¦1¦Null§
Note on A1119: ¦1¦1¦21¦4¦1¦Null§
Note on A1121: ¦1¦1¦21¦5¦1¦Null§
Note on A1123: ¦1¦1¦21¦6¦1¦Null§
Note on A1125: ¦1¦1¦21¦7¦1¦Null§
Note on A1127: ¦1¦1¦21¦8¦1¦Null§
Note on A1192: ¦1¦1¦22¦1¦1¦Null§SubSection
Note on A1194: ¦1¦1¦22¦2¦1¦Null§
Note on A1196: ¦1¦1¦22¦3¦1¦Null§

## Section C - Rivonia Rd
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 1700
17.00 |  | CLEARING AND GRUBBING
17.02 |  | Removal and grubbing of large trees and tree stumps:
|  | (a) Girth exceeding 1 m up to and including 2 m | No | 6 |  | 0
B17.07 |  | Take up / demolish and remove from site, including carting away to designated spoilt site
|  | d) Milling out existing bituminous material with a maximum thickness exceeding 60mm | m² | 11983 |  | 0
|  | e) Existing concrete pavers, including removal of waterproof membrane | m² | 2194 |  | 0
|  | f) Take up and remove existing yardstone / pebbles (average 100mm thick layer) | m² | 350 |  | 0
|  | g) Take up and remove existing precast and / or insitu concrete kerbing | m | 800 |  | 0
|  | h) Take up and remove existing precast deliniator kerbs (rumbling blocks) | m | 400 |  | 0
|  | i) Demolish existing stormwater kerb inlet, including stopping off and sealing ends of existing stormwater pipes, grubbing up and removing concrete base, backfilling hole with suitable imported material from commercial sources and compacting in 150mm thick layers to a minimum of 93% Mod. AASHTO maximum density, including working in confined areas. | No | 6 |  | 0
|  | j) Demolish existing manhole, including stopping off and sealing ends of existing stormwater or sewer pipes, grubbing up and removing concrete base, backfilling hole with suitable imported material from commercial sources and compacting in 150mm thick layers to a minimum of 93% Mod. AASHTO maximum density, including working in confined areas. | No | 8 |  | 0
|  | k) Take down and remove existing street lights, including disconnecting cabling and making safe, grubbing up and removing concrete base, backfilling hole with suitable imported material from commercial sources and compacting in 150mm thick layers to a minimum of 93% Mod. AASHTO maximum density, including working in confined areas | No | 28 |  | 0
Total | [5 empty] | 0
301
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 2100
21.00 |  | DRAINS
21.03 |  | Excavation for subsoil drainage systems:
| LI | "(a) Excavating soft material situated within the following depth ranges below the surface level:"
| LI | (i) 0 m up to 1,5 m | m³ | 511 |  | 0
| LI | (ii) 1.5 m up to 3,0 m | m³ | 367 |  | 0
|  | "(b) Extra over subitem 21.03(a) for excavation in hard material, irrespective of depth" | m³ | 176 |  | 0
21.04 |  | Impermeable backfilling to subsoil drainage systems
|  | a) Selected fill material from excavations in pipe tenches | m³ | 240 |  | 0
21.06 | LI | Natural permeable material in subsoil drainage systems (crushed stone)
| LI | (b) Crushed stone obtained from commercial sources (19mm average diameter) | m³ | 399 |  | 0
21.07 |  | Natural permeable material in subsoil drainage systems (sand)
|  | (b) Sand from commercial sources (G7 material) | m³ | 240 |  | 0
21.08 |  | Pipes in subsoil drainage systems
|  | (c) Perforated Class 25 160mm diameter high density type poly-ethylene pressure (HDPE) pipes and fittings, complete with couplings, end caps, etc., complete | m | 690 |  | 0
21.09 |  | Polyethylene sheeting, 0.15mm thick, or similar approved material, for lining subsoil drainage systems | m² | 2822 |  | 0
21.1 |  | Synthetic-fibre filter fabric
|  | a) Geofabric filter blanket wrapped around stone encasing with 150mm side and 300mm end laps including stitching. | m² | 2822 |  | 0
21.17 |  | Test flushing of pipe subsoil drains | No | 8 |  | 0
21.18 |  | Excavation for the clearing of existing drainage systems
|  | (a) Manholes and inlet and outlet structures | m³ | 14 |  | 0
Total | [5 empty] | 0
302
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 2200
2200 |  | PREFABRICATED CULVERTS
22.01 |  | Excavation:
(a) Excavating soft material situated within the following depth ranges below the surface:
|  | (i) 0 m up to 1,5 m | m³ | 493 |  | 0
|  | (ii) Exceeding 1,5 m and up to 3,0 m | m³ | 530 |  | 0
|  | (b) Extra over subitem 22.01(a) for excavation in hard material, irrespective of depth | m³ | 205 |  | 0
22.02 |  | Backfilling:
|  | (a) Using the excavated material | m³ | 358 |  | 0
|  | (b) Using imported selected G5 material | m³ | 665 |  | 0
(c) Extra over subitems 22.02(a) and (b) for soil cement backfilling
|  | (i) with 3% Cement | m³ | 512 |  | 0
22.03 |  | Concrete pipe culverts:
(a) On class C bedding
|  | (i) 350mm Diameter Class SC 100D load concrete non-pressure pipes, with spigot and socket ends jointed together with and including neoprene sealed joints | m | 50 |  | 0
|  | (ii) 450mm Diameter Class SC 100D load concrete non-pressure pipes, with spigot and socket ends jointed together with and including neoprene sealed joints | m | 150 |  | 0
|  | (iii) 600mm Diameter Class SC 100D load concrete non-pressure pipes, with spigot and socket ends jointed together with and including neoprene sealed joints | m | 250 |  | 0
22.07 |  | Cast in-situ concrete and formwork:
|  | (f) Services protection slab size 1500 x 900 x 150mm thick overall, with a mass not exceeding 500kg, manufactured using 30MPa/19mm reinforced concrete, with single layer mesh ref 391 installed 50mm from bottom, supplied complete with 4 No. R10 lifting hooks cast in top surface of slab in required position, including Class F2 surface finish formwork to bottom and sides, transporting, hoisting and placing in final position complete | No | 256 |  | 0
Total Carried Forward | [5 empty] | 0
303
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 2200 |  |  |  | 0
22.00 | LI | PREFABRICATED CULVERTS
22.12 |  | Removing existing concrete, brickwork or masonry:
|  | (a) Plain concrete | m³ | 20 |  | 0
|  | (b) Reinforced concrete | m³ | 20 |  | 0
22.14 |  | Removing and stacking existing prefabricated culverts:
|  | (a) 300mm Diameter precast concrete pipe, including locating, excavating, exposing, stopping off, lifting, loading, transporting to spoil site, off-loading, stacking, backfilling tenches and compacting in 150mm thick layers to 93% Mod. AASHTO maximum density, disposal of excess excavated material to designated spoil site, etc., complete | m | 50 |  | 0
|  | (b) 450mm Diameter precast concrete pipe, including locating, excavating, exposing, stopping off, lifting, loading, transporting to spoil site, off-loading, stacking, backfilling tenches and compacting in 150mm thick layers to 93% Mod. AASHTO maximum density, disposal of excess excavated material to designated spoil site, etc., complete | m | 150 |  | 0
|  | (c) 600mm Diameter precast concrete pipe, including locating, excavating, exposing, stopping off, lifting, loading, transporting to spoil site, off-loading, stacking, backfilling tenches and compacting in 150mm thick layers to 93% Mod. AASHTO maximum density, disposal of excess excavated material to designated spoil site, etc., complete | m | 250 |  | 0
22.17 |  | Manholes, catchpits, precast inlet and outlet structures complete:
(a) Brick manhole size 940 x 940mm internally, complete with 100mm thick mesh ref. 193 reinforced concrete base, 230mm thick NFX brick walls, one coat internal cement plaster, concrete cover slab, step irons, concrete benching, excavations, backfilling, carting away of surplus excavated material, 750mm diameter x 153kg type 1A heavy duty manhole cover and frame :
|  | (i) Manhole with 2 no. inlets for precast concrete pipes (pipes elsewhere measured), depth to invert exceeding 1000mm and not exceeding 1500mm deep | No | 2 |  | 0
(b) Catchpit size 600 x 800mm internally, complete with 100mm thick mesh ref. 193 reinforced concrete base, 230mm thick NFX brick walls, one coat internal cement plaster, concrete cover slab, step irons, concrete benching, excavations, backfilling, carting away of surplus excavated material, 400 x 570mm x 48kg heavy duty stormwater grating and frame :
|  | (i) Catchpit with 2 no. inlets for precast concrete pipes (pipes elsewhere measured), depth to invert exceeding 1000mm and not exceeding 1500mm deep | No | 2 |  | 0
Total Carried Forward | [5 empty] | 0
304
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 2200 |  |  |  | 0
22.00 | LI | PREFABRICATED CULVERTS
(c) Kerb inlet size 5540 x 940mm internally, complete with 100mm thick mesh ref. 193 reinforced concrete base, 230mm thick NFX brick walls, one coat internal cement plaster, concrete cover slabs, step irons, concrete benching, excavations, backfilling, carting away of surplus excavated material, 610mm diameter x 97kg type 2B medium duty manhole cover and frame :
|  | (i) Kerb inlet with 2 no. inlets for precast concrete pipes (pipes elsewhere measured), depth to invert exceeding 1500mm and not exceeding 2000mm deep | No | 6 |  | 0
|  | (ii) Lifting-key for manhole cover (handed to JDA) | No | 2 |  | 0
(f) The raising or lowering of existing manholes
Raising of existing manholes by removing existing concrete top slab with manhole cover and frame, preparing existing surface and adding an additional 300mm to top of existing manhole, including supplying and installing new cover slab, manhole cover and frame, executed complete
|  | (i) Existing 600 x 600mm brick manhole | No | 5 |  | 0
|  | (ii) Existing 900 x 900mm brick manhole | No | 3 |  | 0
|  | (iii) Existing 1050mm diameter precast concrete manhole | No | 2 |  | 0
22.26 |  | Hand excavation to determine the positions of existing services
|  | a) Excavate by hand tools to locate and expose existing services, including backfilling and compacting to 90% Mod. AASHTO maximum density, carting away of surplus excavated material | m³ | 20 |  | 0
Total | [5 empty] | 0
305
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 2300
23.00 | LI | CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS
23.01 |  | Concrete kerbing:
(a) Precast concrete rectangular edge kerb SABS 927 Fig. 3 (size 150mm wide x 300mm high), complete with 15MPa/19mm in-situ concrete haunching at joints:
|  | (i) Radius up to 15 m | m | 80 |  | 0
|  | (ii) Radius over 15 m and straight sections | m | 400 |  | 0
|  | (iii) Dropped Kerbing for wheel chair crossing | m | 20 |  | 0
|  | (iv) Dilineator kerb (rumble blocks) | m | 20 |  | 0
|  | (v) 90 x 110mm D-section extruded rubber fender with lugs at not exceeding 500mm centres, epoxy grouted into precast concrete kerb (elsewhere measured) | m | 116 |  | 0
23.02 |  | Concrete kerbing-channelling combination:
(a) Combination precast concrete rectangular edge kerb SABS 927 Fig. 3 (size 150mm wide x 300mm high) and precast concrete tapered edge channel kerb SABS Fig. 14 (300mm wide x 125mm extreme height), complete with 15MPa/19mm in-situ concrete haunching at joints
|  | (i) Radius up to 15 m | m | 60 |  | 0
|  | (ii) Radius over 15 m and straight sections | m | 350 |  | 0
23.03 |  | Concrete chutes:
|  | (a) Combination 40MPa precast concrete rectangular Sanral U-channel size 370mm wide x 405mm high x 1200mm lengths, bottom of channel to 125mm radius, channel reinforced with 210kg per m3 steel reinforcement, 370mm wide x 85mm thick x 600mm lengths perforated median grid cover, grouted with cement mortar in final posiiton to top of U-channel, complete with 15MPa/19mm in-situ concrete haunching at joints (channel and grid cover), including excavations, levelling, compacting, backfilling and compacting to sides, carting away excess excavated earth material, etc., complete | m | 110 |  | 0
B23.21 |  | Precast concrete bollards:
|  | a) 800mm High 10W 4000K light up black bollard, including 1 x 10W LED light, excavation, unreinforced concrete base, formwork, backfilling and compacting, etc., complete | No | 10 |  | 0
|  | b) Precast concrete diagonal bollard size 1200 x 250 x 250mm installed strictly in accordance with the manufacturer's instructions | No | 80 |  | 0
Total | [5 empty] | 0
306
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3300
3300 |  | MASS EARTHWORKS
Note: All materials to include for free haul from source or to disposal site, to be located by the contractor, irrespective of the distance
33.01 |  | Cut and borrow to fill, including unlimited free-haul:
(a) Material in compacted layer thickness of 200 mm and less:
|  | (ii) Compacted to 93% of Maximun Dry Density | m³ | 402 |  | 0
33.04 |  | Cut to spoil including unlimited free haul. Material obtained from:
|  | (a) Soft excavation (roadworks) | m³ | 6525 |  | 0
|  | (a) Soft excavation (pavements) | m³ | 201 |  | 0
|  | (b) Intermediate excavation | m³ | 327 |  | 0
|  | (c) Hard excavation | m³ | 163 |  | 0
33.07 |  | Removal of unsuitable material (including unlimited free-haul):
(a) In layer thicknesses exceeding 200 mm
|  | (i) Stable material | m³ | 653 |  | 0
|  | (c) Extra over for intermediate material | m³ | 65 |  | 0
|  | (d) Extra over for hard material | m³ | 33 |  | 0
33.08 |  | Widening of cuts (extra over items 33.01,33.02 and 33.04):
|  | (c) in all other materials | m³ | 327 |  | 0
33.10 |  | Roadbed preparation and the compaction of material:
|  | (a) Compaction to 90% of Mod AASHTO Maximun Density (roadworks) | m³ | 1797 |  | 0
|  | (a) Compaction to 90% of Mod AASHTO Maximun Density (pavements) | m³ | 201 |  | 0
Total Carried Forward | [5 empty] | 0
307
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 3300 |  |  |  | 0
3300 |  | MASS EARTHWORKS
33.13 |  | Finishing-off cut and fill slopes, medians and interchange areas:
|  | (a) Cut slopes | m² | 180 |  | 0
|  | (b) Fill slopes | m² | 180 |  | 0
|  | (c) Medians and interchange areas | m² | 1440 |  | 0
33.14 |  | Extra over item 33.01 for excavating material from the pavements and fills of existing roads:
|  | (a) Non-cemented material | m³ | 201 |  | 0
|  | (b) Cemented material | m³ | 201 |  | 0
33.15 |  | Extra over item 33.14 for excavating in pavements and fills of existing roads in restricted areas in:
|  | (a) Non-cemented material | m³ | 201 |  | 0
|  | (b) Cemented material | m³ | 201 |  | 0
33.18 |  | Extra over items 33.10, 33.11 and 33.12 for preparing and / or treating the roadbed and compacting material in restricted areas:
|  | (a) Item 33.10 for roadbed preparation and the compaction of material (roadworks) | m³ | 1797 |  | 0
Total Carried Forward To Summary | [5 empty] | 0
308
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3400
34.00 |  | PAVEMENT LAYERS OF GRAVEL MATERIAL
34.01 |  | Pavement layers constructed from gravel taken from cut or borrow, including unlimited free-haul:
(a) Gravel selected layer compacted to:
|  | (i) 93% of Mod AASHTO Density, using G7 material 150 mm thick (roadworks) | m³ | 1497 |  | 0
|  | (i) 93% of Mod AASHTO Density, using G7 material 150 mm thick (pavements) | m³ | 749 |  | 0
(d) Gravel subbase (chemically stabilized material) compacted to:
|  | (iii) 96% of Mod AASHTO Density, using non-cemented G5 material 200 mm thick | m³ | 2997 |  | 0
(g) Gravel shoulders wearing course Type 1 compacted to:
|  | (ii) 95% of Mod AASHTO Density 150 mm thick | m³ | 225 |  | 0
B34.14 |  | Extra over item 34.01 for supply of gravel material from commercial sources (including overhaul) for the following pavement layers:
|  | (a) Gravel selected layer, G7 quality material (roadworks) | m³ | 1797 |  | 0
|  | (a) Gravel selected layer, G7 quality material (pavement) | m³ | 201 |  | 0
|  | (b) Gravel subbase, G5 quality material | m³ | 3247 |  | 0
|  | (c) Gravel wearing course, Type 1 | m³ | 449 |  | 0
Total Carried Forward To Summary | [5 empty] | 0
309
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 3500
35.00 |  | STABILIZATION
35.01 |  | Chemical stabilization extra over unstabilized compacted layers
(a) Subbase layers of
|  | (i) 200 mm thickness | m³ | 2997 |  | 0
35.02 |  | Chemical stabilizing agent:
|  | (a) Ordinary Portland Cement | t | 211 |  | 0
35.04 |  | Provision and application of water for curing | kℓ | 300 |  | 0
35.05 |  | Curing by covering with subsequent layer (immediate placement on instruction of the Engineer) | m² | 11980 |  | 0
35.13 |  | Extra over items 35.01 and 35.07 for trial sections | m³ | 300 |  | 0
Total Carried Forward To Summary | [5 empty] | 0
310
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 4100
41.00 | LI | PRIME COAT
41.01 |  | Prime coat:
|  | (f) Bitumen emulsion bases prime | litre | 8557 |  | 0
41.02 |  | Aggregate for blinding:
|  | (i) BTB base compacted to 93% of Mod. RICE, 80 mm thick | m² | 7733 |  | 0
|  | (iI) EME base compacted to 94% of Mod. RICE, 90 mm thick | m² | 8500 |  | 0
41.03 |  | Extra over item 41.01 for applying the prime coat in areas accessible only to hand held equipment | litre | 856 |  | 0
Total Carried Forward To Summary | [5 empty] | 0
311
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 4200
42.00 |  | ASPHALT BASE AND SURFACING
42.02 |  | Asphalt Surfacing:
(a) Continuously graded,
|  | Apply 40mm (average) thick continuously graded asphalt surfacing using AP-1 (50/70 penetration grade) bitumen, including approved binder | m² | 5990 |  | 0
42.04 |  | Tack coat of 30% stable-grade emulsion | litre | 8664 |  | 0
42.05 |  | Binder variations
|  | (a) 50/70 Penetration Grade Bitumens | t | 28 |  | 0
42.06 |  | Variations in active filler content:
|  | (a) Cement | t | 5 |  | 0
|  | (b) Lime | t | 5 |  | 0
|  | (c) Milled granulated blast-furnce slag | t | 5 |  | 0
|  | (d) Fly-ash | t | 5 |  | 0
42.08 |  | 100 mm cores in asphalt paving | No | 5 |  | 0
42.15 |  | Application of prime coat and/or tack coat to the edges of the layers | litre | 428 |  | 0
B42.21 |  | Aggregate variations | t | 28 |  | 0
B42.22 |  | Intersection of old with new, including tieing in of all layerworks and finishing flush top surface of asphalt | m | 120 |  | 0
Total Carried Forward To Summary | [5 empty] | 0
312
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 5600
56.00 |  | ROAD SIGNS
56.01 |  | Road sign boards with painted or coloured semi-matt background. Symbols, lettering and borders in semi-matt black or in Class 1 retro-reflective material, where the sign board is constructed from:
(c) Prepainted galvanized steel plate (chromadek 1,6mm thick or approved equivalent):
|  | (i) Area not exceeding 2 m² | m² | 37 |  | 0
|  | (ii) Area exceeding 2 m² but not 10 m² | m² | 19 |  | 0
56.02 |  | Extra over item 56.01 for using:
(a) Background of retro-reflective material of:
|  | (i) Class I (Engineering grade) | m² | 17 |  | 0
|  | (iii) Class III (High-intensity grade) | m² | 39 |  | 0
(b) Lettering, symbols, numbers, arrows, emblems and borders of retro- reflective material:
|  | (ii) Class III | m² | 56 |  | 0
56.03 |  | Road sign supports (overhead road sign structures excluded):
(a) Steel tubing
|  | (i) 76mm Diameter x 5mm wall thickness galvanized circular hollow sections | t | 2 |  | 0
56.05 |  | Excavation and backfilling for road sign supports (not applicable to kilometre posts) | m³ | 12 |  | 0
56.06 |  | Extra over item 56.05 for cement-treated soil backfill | m³ | 12 |  | 0
56.08 |  | Dismantling, storing and re-erecting road signs with a surface area of (including grubbing up and removing concrete base, backfilling hole with suitable imported material from commercial sources and compacting in 150mm thick layers to a minimum of 93% Mod. AASHTO maximum density, including working in confined areas):
|  | (a) Up to 2 m² | No | 17 |  | 0
|  | (b) Exceeding 2 m² but not exceeding 10 m² | No | 4 |  | 0
56.09 |  | Dismantling and storing road signs with a surface area of (including grubbing up and removing concrete base, backfilling hole with suitable imported material from commercial sources and compacting in 150mm thick layers to a minimum of 93% Mod. AASHTO maximum density, including working in confined areas):
|  | (a) Up to 2 m² | No | 17 |  | 0
|  | (b) Exceeding 2 m² but not exceeding 10 m² | No | 4 |  | 0
Total | [5 empty] | 0
313
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 5700
57.00 |  | ROAD MARKINGS
57.01 |  | Road marking paint:
|  | (g) Kerb Marking ( any color) | m² | 22 |  | 0
57.02 |  | Retro-reflective road-marking paint:
| LI | (a) White lines (broken or unbroken)
| LI | (i) 100 mm wide | km | 2 |  | 0
| LI | (i) 100 mm wide circular on plan | km | 2 |  | 0
| LI | (ii) 300 mm wide | km | 2 |  | 0
|  | (iii) 600 mm wide | km | 1 |  | 0
| LI | (b) Yellow line (broken or unbroken)
| LI | (i) 100mm wide | km | 1 |  | 0
| LI | (i) 100mm wide circular on plan | km | 2 |  | 0
| LI | (c) Red line (broken or unbroken)
|  | (i) 600mm wide | km | 1 |  | 0
|  | (d) White lettering and symbols | m² | 45 |  | 0
|  | (e) Yellow lettering and symbols | m² | 45 |  | 0
|  | (f) Transverse lines, painted island and arrestor bed markings (any color) | m² | 90 |  | 0
57.04 |  | Variations in rate of application:
|  | (a) White paint | ℓ | 97 |  | 0
|  | (b) Yellow paint | ℓ | 19 |  | 0
|  | (c) Red paint | ℓ | 96 |  | 0
57.05 |  | Roadstuds
|  | 75mm wide x 101mm long x 67mm Extreme height hot dipped galvanized road stub, fixed in required position in top of asphalt surfacing (elsewhere measured) | No | 56 |  | 0
Total Carried Forward | [5 empty] | 0
314
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 5700 |  |  |  | 0
57.00 |  | ROAD MARKINGS
57.06 |  | Setting out and premarking of lines (excluding traffic-island markings, lettering and symbols) | km | 6 |  | 0
57.07 |  | Re-establishing the painting unit at the end of the during the maintenance period | Sum | 1 |  | 0
57.08 |  | Removal of existing, temporary or permanent road markings by:
|  | (a) Sandblasting, shot-blasting or high pressure water-jet, including all necessary power supply, making good damage caused by process, etc., complete | m² | 200 |  | 0
Total | [5 empty] | 0
315
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 5800
58.00 |  | LANDSCAPING AND PLANTING PLANTS
58.09 |  | (a) Providing the trees and shrubs:
|  | (i) Celtis Africana 4.55m high | No | 12 |  | 0
|  | (ii) Abelia postrata (4l container) | No | 20 |  | 0
|  | (iii) Agapanthus spp Blue (2l container) | No | 20 |  | 0
|  | (iv) Bauhinia galpinii (4l container) | No | 20 |  | 0
|  | (v) Plumbago auriculata (0,5l container) | No | 20 |  | 0
(b) Planting and establishing:
|  | (i) Trees | No | 12 |  | 0
|  | (ii) Shrubs | No | 80 |  | 0
B58.12 |  | Succulents:
|  | a) Succulents and cactus plants as per CoJ landscaping and indigenous plant guidelines | m² | 58 |  | 0
B58.13 |  | Compost, lime and fertilizer:
|  | (a) Compost in plant beds, holes for trees, shrubs, etc | m³ | 22 |  | 0
B58.14 |  | Benches, tables, etc.
|  | a) Precast concrete bench size 1800 x 450 x 450mm installed strictly in accordance with the manufacturer's instructions | No | 4 |  | 0
Garden furniture with grey exposed aggregate finish to precast concrete components, including excavation, unreinforced concrete footings where applicable, backfilling and compacting, etc., complete
|  | a) 3 Seater bench | No | 2 |  | 0
|  | b) 17 Litre (155kg) waste bin size 490mm diameter x 760mm high | No | 4 |  | 0
B58.15 |  | Tree boxes
Tree boxes with grey exposed aggregate finish to precast concrete components, including excavation, unreinforced concrete footings where applicable, backfilling and compacting, etc., complete
|  | a) 1000 x 1000 x 1000mm Tree box | No | 12 |  | 0
B58.16 |  | Tree grids
|  | a) Precast concrete tree grid size 1200 x 1200 x 60mm thick, supplied in four sections and with an overall centre diameter of 420mm, installed strictly in accordance with the manufacturer's instructions | No | 2 |  | 0
Total Carried Forward | [5 empty] | 0
316
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 5800 |  |  |  | 0
58.00 |  | LANDSCAPING AND PLANTING PLANTS
B58.17 |  | Light fittings:
|  | a) Solar walkway light on and including 3500mm high post, including excavations, casting in concrete base, backfilling, compacting, etc., complete | No | 13 |  | 0
|  | b) Recessed floor lights including fixing in final position, all excavations, wiring, conduits, backfilling and compacting, etc., complete | No | 16 |  | 0
B58.18 |  | EXTERNAL STAINLESS STEEL BALUSTRADES
Brushed stainless steel handrails comprising 70 x 8mm thick stainless steel sloping vertical uprights / posts at 965mm centres, with 12mm diameter pin welded to top, 51mm diameter x 4mm wall thickness stainless steel hollow section handrails fixed to pin, 25mm diameter x 1.6mm wall thickness stainless steel hollow section horizontal rails at 125mm vertical centres, the vertical uprights / posts welded to and including 100 x 120 x 6mm thick stainless steel base plate, with 51mm diameter x 4mm wall thickness x 150mm long circular hollow section welded centrally to bottom of base plate and epoxy grouted into final position, in and including 60mm diameter x 150mm deep core hole drilled in top surface of concrete, executed complete
|  | a) Balustrade 600mm high | m | 33 |  | 0
|  | b) Extra over 600mm high balustrade for bends / angles | No | 2 |  | 0
|  | c) Extra over 600mm high balustrade for stopped ends | No | 2 |  | 0
|  | d) Balustrade 1050mm high | m | 124 |  | 0
|  | e) Extra over 1050mm high balustrade for bends / angles | No | 4 |  | 0
|  | f) Extra over 1050mm high balustrade for stopped ends | No | 4 |  | 0
B58.19 |  | The following in concrete planter boxes
|  | Restricted excavation not exceeding 2m deep for trenches | m³ | 16 |  | 0
|  | Cart away of surplus excavated material | m³ | 16 |  | 0
|  | Imported topsoil in planter boxes | m³ | 15 |  | 0
|  | Rip, scarify and compact in situ material | m² | 32 |  | 0
Total Carried Forward | [5 empty] | 0
317
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 5800 |  |  |  | 0
58.00 |  | LANDSCAPING AND PLANTING PLANTS
B58.19 |  | 15MPa/19mm Concrete in blinding | m³ | 2 |  | 0
|  | 25MPa/19mm Concrete in footings to planters | m³ | 5 |  | 0
|  | 25MPa/19mm Concrete in planter walls | m³ | 9 |  | 0
|  | Smooth formwork to sides of planter walls | m² | 119 |  | 0
|  | Mild steel bar reinforcement - all diameters | t | 1 |  | 0
|  | High tensile steel bar reinforcement - all diameters | t | 2 |  | 0
B58.19 |  | 375 Micron polyester waterproofing applied to sides and bottom of planters, with 75mm side laps and 100mm end laps, sealed to primed surface by 'torch-fusion' | m² | 68 |  | 0
|  | Two coats bituminious paint to exposed surfaces of waterproofing | m² | 68 |  | 0
|  | 50mm Diameter PVC weep pipe 300mm long, including casting in exact position | No | 28 |  | 0
|  | High tensile steel bar reinforcement - all diameters | t | 2 |  | 0
|  | 375 Micron polyester waterproofing applied to sides and bottom of planters, with 75mm side laps and 100mm end laps, sealed to primed surface by 'torch-fusion' | m² | 68 |  | 0
|  | Two coats bituminious paint to exposed surfaces of waterproofing | m² | 68 |  | 0
|  | 50mm Diameter PVC weep pipe 300mm long, including casting in exact position | No | 28 |  | 0
B58.20 |  | The following in concrete retaining walls
|  | Restricted excavation not exceeding 2m deep for trenches | m³ | 12 |  | 0
|  | Cart away of surplus excavated material | m³ | 12 |  | 0
|  | Rip, scarify and compact in situ material | m² | 24 |  | 0
|  | 15MPa/19mm Concrete in blinding | m³ | 1 |  | 0
|  | 25MPa/19mm Concrete in footings to retaining walls | m³ | 4 |  | 0
|  | 25MPa/19mm Concrete in retaining walls | m³ | 5 |  | 0
Total Carried Forward | [5 empty] | 0
318
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 5800 |  |  |  | 0
58.00 |  | LANDSCAPING AND PLANTING PLANTS
B58.20 |  | 25MPa/19mm Concrete in retaining walls | m³ | 5 |  | 0
|  | Smooth formwork to sides of retaining walls | m² | 34 |  | 0
|  | Mild steel bar reinforcement - all diameters | t | 1 |  | 0
|  | High tensile steel bar reinforcement - all diameters | t | 1 |  | 0
|  | 50mm Diameter PVC weep pipe 300mm long, including casting in exact position | No | 12 |  | 0
B58.21 |  | The following in brick planter boxes
|  | Restricted excavation not exceeding 2m deep for trenches | m³ | 32 |  | 0
|  | Cart away of surplus excavated material | m³ | 32 |  | 0
|  | Imported topsoil in planter boxes | m³ | 28 |  | 0
|  | Rip, scarify and compact in situ material | m2 | 67 |  | 0
|  | 15MPa/19mm Concrete in blinding | m³ | 4 |  | 0
|  | 25MPa/19mm Concrete in footings to planters | m³ | 10 |  | 0
|  | Mild steel bar reinforcement - all diameters | t | 1 |  | 0
|  | High tensile steel bar reinforcement - all diameters | t | 1 |  | 0
|  | One brick walls in planters | m² | 56 |  | 0
|  | 150mm brickforce | m | 666 |  | 0
|  | 50 x 300mm Precast concrete coping | m | 44 |  | 0
|  | 50mm Thick stone cladding to planter walls | m² | 34 |  | 0
|  | 375 Micron polyester waterproofing applied to sides and bottom of planters, with 75mm side laps and 100mm end laps, sealed to primed surface by 'torch-fusion' | m² | 96 |  | 0
|  | Two coats bituminious paint to exposed surfaces of waterproofing | m² | 96 |  | 0
|  | One coat cement plaster to internal face of planters | m² | 29 |  | 0
|  | One coat cement plaster to external face of planters | m² | 29 |  | 0
|  | 50mm Diameter PVC weep pipe 300mm long, including casting in exact position | No | 35 |  | 0
Total | [5 empty] | 0
319
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 7300
73.00 |  | CONCRETE BLOCK PAVING FOR ROADS
73.01 |  | Concrete block paving:
(a) Supply and install the following paving, laid to falls in patterns on and including 50mm thick sand layer with joints filled in with sand, compacted with a vibration compactor
|  | (i) 80mm Thick red interlocking paving | m² | 42 |  | 0
|  | (ii) 80mm Thick grey interlocking paving | m² | 533 |  | 0
|  | (iii) 400 x 400 x 60mm Thick grey directional paving | m² | 12 |  | 0
|  | (iv) 35mm thick Stone black flagstone paving | m² | 19 |  | 0
|  | (v) Precast concrete cobbles colour grey, size 300 x 150 x 60mm thick manufactured in accordance with SANS 1058:2012, laid in basket weave pattern in accordance with SANS 1200 MJ, and CMA Concrete Block Paving manuals, with a minimum longitudinal fall of 1% on a transverse fall of at least 2%, on 25mm compacted sand bed with fine jointing sand swept and vibrated into joints, all laid on subgrade conforming to SANS 1200 D degree of accuracy 1. Paving to be inspected and re-sanded after 3 months. | m² | 324 |  | 0
|  | (vi) Precast concrete cobbles colour tan, size 300 x 150 x 60mm thick manufactured in accordance with SANS 1058:2012, laid in basket weave pattern in accordance with SANS 1200 MJ, and CMA Concrete Block Paving manuals, with a minimum longitudinal fall of 1% on a transverse fall of at least 2%, on 25mm compacted sand bed with fine jointing sand swept and vibrated into joints, all laid on subgrade conforming to SANS 1200 D degree of accuracy 1. Paving to be inspected and re-sanded after 3 months. | m² | 362 |  | 0
|  | (vii) Ditto in bands 300mm wide | m | 11 |  | 0
|  | (viii) Ditto in bands 400mm wide | m | 21 |  | 0
|  | (ix) 400 x 400 x 60mm Thick precast concrete 'warning' paver to be laid in accordance with manufacxturer's specifications, or similar approved by Architect. | m² | 80 |  | 0
Total Carried Forward | [5 empty] | 0
320
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
|  | SECTION 7300 |  |  |  | 0
73.00 |  | CONCRETE BLOCK PAVING FOR ROADS
73.01 |  | (x) 400 x 400 x 60mm Thick precast concrete directional paver to be laid in accordance with the manufacturer's specifications, or similar approved by Architect. | m² | 78 |  | 0
|  | (xi) Precast concrete interlocking pavers colour grey, size 200 x 100 x 60mm thick manufactured in accordance with SANS 1058:2012, laid in stetcher bond pattern in accordance with SANS 1200 MJ, and CMA Concrete Block Paving manuals, with a minimum longitudinal fall of 1% on a transverse fall of at least 2%, on 25mm compacted sand bed with fine jointing sand swept and vibrated into joints, all laid on subgrade conforming to SANS 1200 D degree of accuracy 1. Paving to be inspected and re-sanded after 3 months. | m² | 93 |  | 0
73.01 |  | (xii) Precast concrete interlocking pavers colour tan, size 200 x 100 x 60mm thick manufactured in accordance with SANS 1058:2012, laid in stetcher bond pattern in accordance with SANS 1200 MJ, and CMA Concrete Block Paving manuals, with a minimum longitudinal fall of 1% on a transverse fall of at least 2%, on 25mm compacted sand bed with fine jointing sand swept and vibrated into joints, all laid on subgrade conforming to SANS 1200 D degree of accuracy 1. Paving to be inspected and re-sanded after 3 months.
|  | (xiii) In bands 300mm wide | m | 117 |  | 0
|  | (xiv) In bands 300mm wide circular on plan | m | 48 |  | 0
|  | (xv) In bands 400mm wide | m | 13 |  | 0
(b) Cutting units to fit edge restraints:
|  | (i) Straight cutting of paving and remove to waste. | m | 268 |  | 0
|  | (ii) Raking cutting of paving and remove to waste. | m | 134 |  | 0
|  | (iii) Circular cutting of paving and remove to waste. | m | 402 |  | 0
73.03 |  | Provision of approved herbicide and ant poison:
|  | Supply and lay approved weedkiller in strict accordance with the Manufacturer's instructions | m² | 1339 |  | 0
Total | [5 empty] | 0
321
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Number | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION 8100
81.00 |  | TESTING MATERIALS AND WORKMANSHIP
81.02 |  | Other special tests requested by the Engineer:
|  | (a) Cost of testing | P C Sum | 1 | 30000 | 30000
|  | (b) Handling costs and profit in respect of subitem 81.02(a) | % | 30000 |  | 0
81.03 |  | Providing testing equipment:
|  | (a) Rolling straight-edge | No | 10 |  | 0
|  | (b) Core drill | No | 10 |  | 0
Total Carried Forward To Summary | [5 empty] | 30000
322
JDA C/N001
SECTION C - ADDITIONAL SCOPE - RIVONIA ROAD
Section |  | Description |  |  |  | Amount R
SUMMARY OF SECTIONS
1700 |  | CLEARING AND GRUBBING |  |  |  | Included
2100 |  | DRAINS |  |  |  | Included
2200 |  | PREFABRICATED CULVERTS |  |  |  | Included
2300 |  | CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS |  |  |  | Included
3300 |  | MASS EARTHWORKS |  |  |  | 0
3400 |  | PAVEMENT LAYERS OF GRAVEL MATERIAL |  |  |  | 0
3500 |  | STABILIZATION |  |  |  | 0
4100 |  | PRIME COAT |  |  |  | 0
4200 |  | ASPHALT BASE AND SURFACING |  |  |  | 0
5600 |  | ROAD SIGNS |  |  |  | Included
5700 |  | ROAD MARKINGS |  |  |  | Included
5800 |  | LANDSCAPING AND PLANTING PLANTS |  |  |  | Included
7300 |  | CONCRETE BLOCK PAVING FOR ROADS |  |  |  | Included
8100 |  | TESTING MATERIALS AND WORKMANSHIP |  |  |  | 30000
|  | SUBTOTAL |  |  |  | 30000
|  | TOTAL CARRIED OVER TO SECTION E |  |  |  | 30000

## Section D-Electrical (Rivonia)
Rate=G | JDA C/N001
SECTION D - ELECTRICAL WORKS
| Section | LIC | Item Description | Unit | Quantity | Rate | Amount R
SECTION E1200
159 | E1200 |  | GENERAL REQUIREMENTS AND PROVISIONS
2765 | E12.01 |  | Internal and External Electrical Works at Rivonia Road bus station, including all retated scope, commissioning and certification of compliance. | Prov sum | 1 | 3500000 | 3500000
2766 |  |  | (a) Handling cost and profit in respect of sub item B12.01 above | % | 3500000 |  | 0
2767
2770
3610
2772
1759
1760
1761
2810
2812
2814
2816
| Total Carried Forward To Summary | [5 empty] | 3500000
401
JDA C/N001
SECTION D - ELECTRICAL WORKS
| Section |  | Description |  |  |  | Amount R
SUMMARY OF SECTIONS
| E1200 |  | GENERAL REQUIREMENTS AND PROVISIONS |  |  |  | 3500000
1729
1730
1732
|  |  | SUBTOTAL |  |  |  | 3500000
|  |  | TOTAL CARRIED OVER TO SECTION E |  |  |  | 3500000
Note on A1: Item¦LIC¦Description¦Unit¦Qty¦Rate¦Amount§1¦Contract No. BMK 1598/2019§1¦Schedule 1§GENERAL REQUIREMENTS AND PROVISIONS¦CONTRACTOR'S ESTABLISHMENT ON SITE AND GENERAL OBLIGATIONS¦HOUSING, OFFICES AND LABORATORY FOR THE ENGINEER'S SITE PERSONNEL¦ACCOMODATION OF TRAFFIC¦OVERHAUL¦CLEARING AND GRUBBING¦DAYWORKS¦DRAINS¦PREFABRICATED CULVERTS¦CONCRETE KERBING, CONCRETE CHANNELLING, CHUTES AND DOWNPIPES, AND CONCRETE LININGS FOR OPEN DRAINS¦SELECTION, STOCKPILING AND BREAKING DOWN THE MATERIAL FROM BORROW PITS, CUTTINGS AND EXISTING PAVEMENT LAYERS, AND PLACING AND COMPACTING OF THE GRAVEL LAYERS¦MASS EARTHWORKS¦PAVEMENT LAYERS OF GRAVEL MATERIAL¦CRUSHED STONE BASE ¦PRIME COAT¦ASPHALT BASE AND SURFACING¦PITCHING, STONEWORK AND PROTECTION AGAINST EROSION¦GABIONS¦ROAD SIGNS¦ROAD MARKINGS¦LANDSCAPING AND PLANTING PLANTS¦FINISHING THE ROAD AND ROAD RESERVE AND TREATING OLD ROADS¦TESTING MATERIALS AND WORKMANSHIP
Note on A6: ¦1¦1¦1¦1¦1¦Null§
Note on A8: ¦1¦1¦1¦2¦1¦Null§
Note on A10: ¦1¦1¦1¦3¦1¦Null§
Note on A12: ¦1¦1¦1¦4¦1¦Null§
Note on A14: ¦1¦1¦1¦5¦1¦Null§
Note on A16: ¦1¦1¦1¦6¦1¦Null§
Note on A18: ¦1¦1¦1¦7¦1¦Null§PercPrevItem
Note on A20: ¦1¦1¦1¦8¦1¦Null§
Note on A22: ¦1¦1¦1¦9¦1¦Null§
Note on A24: ¦1¦1¦1¦10¦1¦Null§PercPrevItem
Note on A26: ¦1¦1¦1¦11¦1¦Null§
Note on A28: ¦1¦1¦1¦12¦1¦Null§
Note on A30: ¦1¦1¦1¦13¦1¦Null§
Note on A32: ¦1¦1¦1¦14¦1¦Null§
Note on A103: ¦1¦1¦22¦1¦1¦Null§SubSection
Note on A105: ¦1¦1¦22¦2¦1¦Null§
Note on A107: ¦1¦1¦22¦3¦1¦Null§

## Section E - Summary
JDA C/N001
SECTION E - SUMMARY OF WORKS
| Section | Description | Amount R
SUMMARY OF SECTIONS
| Section A | GENERAL REQUIREMENTS AND PROVISIONS | 23343000
| Section B | REHABILITATION OF ROAD PAVEMENTS AT KATHERINE STREET | 5300000
| Section C | ADDITIONAL SCOPE - RIVONIA ROAD | 30000
| Section D | ELECTRICAL WORKS | 3500000
1729
1730
1732
|  | SUBTOTAL | 32173000
|  | Add 15% VAT | 4825950
|  | TOTAL CARRIED OVER TO C1.1 FORM OF OFFER AND ACCEPTANCE | 36998950
Note on A45: ¦1¦1¦22¦1¦1¦Null§SubSection
Note on A47: ¦1¦1¦22¦2¦1¦Null§
Note on A49: ¦1¦1¦22¦3¦1¦Null§